## SW_FieldDataSheet
Stormwater Field Data Record | [7 empty] | Stormwater Field Data Record
| Happy Field Regional Airport | [5 empty] | Page 1 of 2 |  | Happy Field Regional Airport |  |  |  | Page 2 of 2
| Sample Date: |  |  | Field Staff: |  |  |  |  | Sample Date: |  | Field Staff:
| Location ID: |  |  | Location Description: |  |  |  |  | Location ID: |  | Location Description:
| Weather Conditions | [7 empty] | Sample Collection Log
|  | Current Conditions |  |  | Antecedent Conditions |  |  |  | Sample Time:
|  | Precipitation Type |  |  |  | Past 24-Hour Rainfall (inches)
|  | Air Temperature (°F) |  |  |  | Past 3-Day Rainfall (inches) |  |  | Constituents (enter "L" for lab analysis, "H" for in-house analysis):
|  | Weather Description |  |  |  | Depth of Snow (inches) |  |  | Total Suspended Solids | Total Aluminum |  | Total Phosphorus
[9 empty] | Total Dissolved Solids | Dissolved Aluminum |  | Dissolved Phosphorus
| Visual Observations | [7 empty] | Biochemical Oxygen Demand | Total Arsenic |  | Orthophosphate
[9 empty] | Chemical Oxygen Demand | Dissolved Arsenic |  | Soluble Reactive Phosphorus
| Flow Level | Water Color | Water Clarity | Floating Solids |  | Wildlife Present: |  |  | Total Organic Carbon | Total Barium |  | Total Nitrogen
| Trickle | Gray | Turbid | None Visible |  | No |  |  | Dissolved Organic Carbon | Dissolved Barium |  | Total Kjeldahl Nitrogen
[6 empty] | If Wildlife Present, describe: |  |  | Alkalinity | Total Cadmium |  | Nitrate plus Nitrite
| Sheen | Odor | Foam | Biofilm |  |  |  |  | Hardness | Dissolved Cadmium |  | Nitrate
| None Visible | No | No | No |  |  |  |  | Conductivity | Total Copper |  | Nitrite
[9 empty] | Total Oil and Grease | Dissolved Copper |  | Ammonia Nitrogen
| Notes (Please describe specific observations): | [7 empty] | TPH - Oil-range organics | Total Lead |  | Un-ionized Ammonia
[9 empty] | TPH - diesel-range organics | Dissolved Lead |  | Whole Effluent Toxicity
[9 empty] | TPH - gasoline-range organics | Total Nickel |  | Propylene Glycol
[9 empty] | Total PAHs | Dissolved Nickel |  | Ethylene Glycol
[9 empty] | Total PCBs | Total Mercury |  | Acetate
| Photo Log: | [7 empty] | Total PFCs | Methylmercury |  | E. coli
| PhotoID | Description |  |  | PhotoID | Description |  |  | Total Dioxins | Total Silver |  | Fecal Coliform
Dissolved Silver
Total Zinc
Dissolved Zinc
Field Analyses
|  |  | Value | Time | Instrument | Calibration Notes
Temperature (°F)
pH (SU)
Alkalinity (mEq/L)
Turbidity (NTU)
| Dissolved Oxygen (mg/L) | [7 empty] | Sample Collection Notes:
Conductivity (µS/cm)
Redox Potential (mV)

## DropdownLists
Precipitation Type | Flow Level | Water Color | Water Clarity | Floating Solids | O&G Sheen | Odor | Foam | Wildlife | TimeRange | Air Temperature | Past 24 hour Rainfall | Past 3 day Rainfall | Depth of Snow (inches) | Temperature
Drizzle | Trickle | Green | Clear | Light | Light | Yes | Yes | Yes | 0:00 | Air Temperature (°F) | Past 24-Hour Rainfall (inches) | Past 3-Day Rainfall (inches) | Depth of Snow (inches) | Temperature (°F)
Rain | Low | Brown | Turbid | Medium | Medium | No | No | No | 12:00 | Air Temperature (°C) | Past 24-Hour Rainfall (mm) | Past 3-Day Rainfall (mm) | Depth of Snow (cm) | Temperature (°C)
Snow | Medium | Gray | Cloudy | Heavy | Heavy
Sleet | High | White | Muddy | None Visible | None Visible
Freezing rain | Very High | Yellow | No Flow | No Flow | Biogenic
Hail | No Flow | Orange |  |  | No Flow
No Color
No Flow