## Introduction
Appendix B Existing Restroom Evaluation Forms B.1 Summary The forms on the following pages suggest aspects of the existing public airport terminal restrooms to survey. This effort establishes the current state of the restrooms. Use this to compare with the needs analysis described in Chapter 3 and thus determine the master plan for future restroom work. Fill out a form for each restroom space – Men’s, Women’s, Family Room, pipe chases, etc. These become part of the airport’s Restroom Master Plan document. It is encouraged to update the survey whenever a restroom is modified so the information is current. Create forms that reflect both the current and desired restroom components. Verify local accessibility code requirements when developing the Accessibility evaluation forms at the end of this section. The forms herein are based on ANSI A117.1-2003.

## Planning
TERMINAL | DATE
EVALUATOR
PLANNING - TERMINAL LOCATIONS
PEAK HOUR PASSENGER VOLUMES KNOWN | Y / N
ENPLANING OR DEPLANING PEAK HOUR PASSENGERS | __________
VISITOR RATIOS KNOWN | Y / N
VISITOR RATIO (i.e. 0.3) | __________
TOTAL PEAK HOUR PASSENGERS + VISITORS | __________
AVERAGE FIXTURES PER GENDER PER LOCATION | ______MEN ______WOMEN
EXISTING WOMEN/MEN RATIO | _________%
EXISTING PEAK HOUR PASSENGERS PER FIXTURE | __________
AVERAGE SIZE PER RESTROOM PAIR | _________SF
CONVENIENTLY LOCATED NEAR MAJOR PASSENGER PROCESSING FUNCTIONS | Y / N
LOCATIONS NEAR MAJOR CONCESSIONS NODES | Y / N
OBSERVED LINES DURING PEAK ACTIVITY | Y / N
CONCOURSE | DATE
EVALUATOR
PLANNING - CONCOURSE LOCATIONS
TRAFFIC CLASSIFICATION | O&D / HUB MIX
PEAK HOUR VOLUMES KNOWN | Y / N
DEPLANING PEAK HOUR PASSENGERS | __________
AVERAGE DISTANCE BETWEEN RESTROOM PAIRS | <200' 200' to 300' 301' to 500' >500'
AVERAGE FIXTURES PER GENDER PER LOCATION | ______MEN ______WOMEN
EXISTING WOMEN/MEN RATIO | _________%
EXISTING PEAK HOUR PASSENGERS PER FIXTURE | __________
AVERAGE SIZE PER RESTROOM PAIR | _________SF
OBSERVED LINES DURING PEAK ACTIVITY | Y / N
LOCATIONS NEAR MAJOR CONCESSIONS NODES | Y / N

## Proximity
ROOM NO. |  |  | DATE
ROOM NAME |  |  | EVALUATOR
PROXIMITY: CONCOURSE
| YES / NO | DISTANCE FROM RESTROOM SET | ISSUES, ETC.
TICKETING
BAGGAGE CLAIM
CONCESSIONS
HOLD ROOMS
BAGGAGE CARTS
PLAY AREA
GROUND TRANSPORTATION
CAR RENTAL
PARKING
NEAREST RESTROOM

## Signage
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
SIGNAGE: RESTROOM
| QTY | TYPE | MATERIAL | COLOR | SIZE | AGE, QUALITY, ISSUES, ETC.
EMPLOYEES WASH HANDS
COMMENTS PROCESS
ADVERTISING
ACCESSIBLE STALL
AMBULATORY STALL
DOOR NUMBERS
ELEC CIRCUIT NUMBERS
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
SIGNAGE: CONCOURSE AT ENTRY
| QTY | TYPE | MATERIAL | COLOR | SIZE | AGE, QUALITY, ISSUES, ETC.
CONCOURSE WAYFINDING
LOCATION IDENTIFYER
ROOM NAME
ROOM NUMBER
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
SIGNAGE: PIPE CHASE / JANITOR'S CLOSET
| QTY | TYPE | MATERIAL | COLOR | SIZE | AGE, QUALITY, ISSUES, ETC.
ROOM NAME
ROOM NUMBER
ADA

## Surfaces
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
SURFACES: RESTROOM
| TYPE | BRAND | MODEL/ COLOR | FINISH | SIZE | AGE, QUALITY, ISSUES, ETC.
FLOOR
WALL BASE
WALLS
CEILING
SOFFITS
STALL PARTITIONS
STALL DOORS
URINAL SCREENS
COUNTERS
BACKSPLASH
OPENING FRAMES
DOORS
GLAZING
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
SURFACES: CONCOURSE AT ENTRY
| TYPE | BRAND | MODEL/ COLOR | FINISH | SIZE | AGE, QUALITY, ISSUES, ETC.
FLOOR
WALL BASE
WALLS
CEILING
SOFFITS
OPENING FRAMES
DOORS
GLAZING
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
SURFACES: PIPE CHASE / JANITOR'S CLOSET
| TYPE | BRAND | MODEL/ COLOR | FINISH | SIZE | AGE, QUALITY, ISSUES, ETC.
FLOOR
WALL BASE
WALLS
CEILING
OPENING FRAMES
DOORS

## Hardware
ROOM NO. | [5 empty] | DATE
ROOM NAME | [5 empty] | EVALUATOR
HARDWARE: RESTROOM
| QTY | TYPE | BRAND | MODEL/ COLOR | FINISH | SIZE | AGE, QUALITY, ISSUES, ETC.
DOORS
LOCKSET
CLOSER
KICKPLATE
STOP
AUTO DOOR OPERATOR
AUTO DOOR ACTIVATOR
STALL DOORS
HINGE
LATCH
OCCUPANCY INDICATOR
ROOM NO. | [5 empty] | DATE
ROOM NAME | [5 empty] | EVALUATOR
HARDWARE: PIPE CHASE / JANITOR'S CLOSET
| QTY | TYPE | BRAND | MODEL/ COLOR | FINISH | SIZE | AGE, QUALITY, ISSUES, ETC.
LOCKSET
CLOSER
KICKPLATE
STOP
SECURITY

## Accessories
ROOM NO. | [5 empty] | DATE
ROOM NAME | [5 empty] | EVALUATOR
ACCESSORIES: RESTROOM
| QTY | TYPE | BRAND | MODEL/ COLOR | FINISH | SIZE | AGE, QUALITY, ISSUES, ETC.
MIRROR
HAND DRYER
PAPER TOWEL DISPENSER
SANITARY PRODUCTS DISPENSER
WASTE RECEPTACLE
BIOHAZARD
DISPOSAL
BABY CHANGING
TOILET PAPER DISPENSER
STALL WASTE RECEPTACLE
SEAT PAPER DISPENSER
HOOKS
SHELF
ROOM NO. | [5 empty] | DATE
ROOM NAME | [5 empty] | EVALUATOR
ACCESSORIES: PIPE CHASE / JANITOR'S CLOSET
| QTY | TYPE | BRAND | MODEL/ COLOR | FINISH | SIZE | AGE, QUALITY, ISSUES, ETC.
UTILITY RACK/SHELF
STORAGE SHELVES

## Amenities
ROOM NO. |  |  |  | DATE
ROOM NAME |  |  |  | EVALUATOR
AMENITIES: RESTROOM
| QTY | LOCATION | TYPE | AGE, QUALITY, ISSUES, ETC.
FULL LENGTH MIRROR
MAKE-UP/ GROOMING
SEATING
DRESSING ROOM
SHOWER
ADULT CHANGING TABLE
CLOSE HALF FOR SERVICE
DAYLIGHT
ART
SEVERE WEATHER SHELTER
ROOM NO. |  |  |  | DATE
ROOM NAME |  |  |  | EVALUATOR
AMENITIES: CONCOURSE
| QTY | LOCATION/ PROXIMITY | TYPE | SIZE | AGE, QUALITY, ISSUES, ETC.
WAITING AREA
ART/DISPLAY
FLIGHT INFORMATION
AED
FIRE EXTINGUISHER
AIRPORT PHONE

## Plumbing
ROOM NO. | [5 empty] | DATE
ROOM NAME | [5 empty] | EVALUATOR
PLUMBING: RESTROOM
| QTY | BRAND | MODEL | MATERIAL/ FINISH | MOUNTING | AUTO/ MANUAL | GPM | AGE, CLEANLINESS, QUALITY, ETC.
LAVATORY | [5 empty] | NA | NA
FAUCET
URINAL | [5 empty] | NA
URINAL FLUSH VALVE
TOILET | [5 empty] | NA
TOILET FLUSH VALVE
SOAP DISPENSER | [6 empty] | NA
ROOM NO. | [5 empty] | DATE
ROOM NAME | [5 empty] | EVALUATOR
PLUMBING: CONCOURSE
| QTY | BRAND | MODEL | MATERIAL/ FINISH | MOUNTING | AUTO/ MANUAL | GPM | AGE, CLEANLINESS, QUALITY, ETC.
DRINKING FOUNTAIN
BOTTLE FILLER
CANE GUARD
ROOM NO. | [5 empty] | DATE
ROOM NAME | [5 empty] | EVALUATOR
PLUMBING: PIPE CHASE / JANITOR'S CLOSET
| QTY | BRAND | MODEL | MATERIAL/ FINISH | MOUNTING | AUTO/ MANUAL | GPM | AGE, CLEANLINESS, QUALITY, ETC.
FLOOR SINK | [5 empty] | NA | NA
FAUCET
HOSE BIBB

## HVAC
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
HVAC: RESTROOM
| QTY | TYPE | BRAND | MODEL | SIZE | BTU/ft2, AREA OF SPACE, CFM, ETC.
THERMOSTAT
FIN-TUBE RADIATION
AIR SUPPLY
EXHAUST
ROOM NO. |  |  |  |  | DATE
ROOM NAME |  |  |  |  | EVALUATOR
HVAC: PIPE CHASE / JANITOR'S CLOSET
| QTY | TYPE | BRAND | MODEL | SIZE | BTU/ft2, AREA OF SPACE, CFM, ETC.
THERMOSTAT
FIN-TUBE RADIATION
AIR SUPPLY
EXHAUST

## Power
ROOM NO. | [7 empty] | DATE
ROOM NAME | [7 empty] | EVALUATOR
POWER: RESTROOM
| QTY | GFCI OR BREAKER | BRAND | MODEL | COVER MATERIAL | COVER COLOR | HARD WIRE OR BATTERY | EMERGENCY POWER | QUALITY, ISSUES, ETC.
GENERAL
AUTO FAUCET
AUTO SOAP DISPENSER
AUTO PAPER TOWEL
AUTO FLUSH VALVES
HAND DRYER
AUTO DOOR
ROOM NO. | [7 empty] | DATE
ROOM NAME | [7 empty] | EVALUATOR
POWER: PIPE CHASE / JANITOR'S CLOSET
| QTY | GFCI OR BREAKER | BRAND | MODEL | COVER MATERIAL | COVER COLOR |  | EMERGENCY POWER | QUALITY, ISSUES, ETC.
GENERAL

## Lighting
ROOM NO. | [6 empty] | DATE
ROOM NAME | [6 empty] | EVALUATOR
LIGHTING: RESTROOM
| QTY | TYPE | BRAND | MODEL | LAMP | LAMP COLOR | EMERGENCY POWER | QUALITY, ISSUES, ETC.
GENERAL
ENTRY
SINK AREA
TOILET STALLS
SWITCH |  |  |  |  | NA | NA
OCCUPANCY SENSOR |  |  |  |  | NA | NA
ROOM NO. | [6 empty] | DATE
ROOM NAME | [6 empty] | EVALUATOR
LIGHTING: PIPE CHASE / JANITOR'S CLOSET
| QTY | TYPE | BRAND | MODEL | LAMP | LAMP COLOR | EMERGENCY POWER | QUALITY, ISSUES, ETC.
GENERAL
SWITCH |  |  |  |  | NA | NA
OCCUPANCY SENSOR |  |  |  |  | NA | NA

## Technology
ROOM NO. | [6 empty] | DATE
ROOM NAME | [6 empty] | EVALUATOR
TECHNOLOGY: RESTROOM
| QTY | TYPE | BRAND | MODEL | SIZE | LOCATION | USE | QUALITY, ISSUES, ETC.
FIRE ALARM PULL STATION
FIRE ALARM DETECTION
FIRE ALARM NOTIFICATION
PAGING
CARD READER
AMBIENT MUSIC
OCCUPANCY COUNTER
CLEANING STATUS
VIDEO
ROOM NO. | [6 empty] | DATE
ROOM NAME | [6 empty] | EVALUATOR
TECHNOLOGY: PIPE CHASE / JANITOR'S CLOSET
| QTY | TYPE | BRAND | MODEL | SIZE | LOCATION | USE | QUALITY, ISSUES, ETC.
FIRE ALARM PULL STATION
FIRE ALARM DETECTION
FIRE ALARM NOTIFICATION
PAGING
CARD READER

## Accessibility
ROOM NO. |  |  |  | DATE | ROOM NO. |  | DATE
ROOM NAME |  |  |  | EVALUATOR | ROOM NAME |  | EVALUATOR
ACCESSIBILITY: ENTRY AREA |  |  |  |  | ACCESSIBILITY: FIXTURE COUNT
| Y | N | NA | COMMENTS |  | QTY | COMMENTS
32" CLEAR WIDTH AT OPENING |  |  |  |  | NUMBER OF LAVATORIES
42" CLEAR AT HALLWAY TURN (FROM < 36" WIDTH) |  |  |  |  | NUMBER OF ACCESSIBLE LAVATORIES
U-TURN = 42"X48" OR 36" X 60" (< 48" OBSTACLE) |  |  |  |  | NUMBER OF TOILETS
REQUIRED CLEARANCE AT DOOR |  |  |  |  | NUMBER OF AMBULATORY TOILETS
AUTO DOOR OPERATOR (FOR NON-COMPLIANT CLEARANCE) |  |  |  |  | NUMBER OF ACCESSIBLE TOILETS
AUTO DOOR ON EMERGENCY POWER |  |  |  |  | NUMBER OF URINALS
DOOR LEVER TYPE |  |  |  |  | NUMBER OF ACCESSIBLE URINALS
LEVER AT 34" - 48" AFF |  |  |  |  | NUMBER OF DRINKING FOUNTAINS
1/2" MAXIMUM THRESHOLD |  |  |  |  | NUMBER OF ACCESSIBLE DRINKING FOUNTAINS
ROOM SIGN AT 48" AFF TO LOWER TEXT BASELINE
ROOM SIGN AT 68" AFF TO UPPER TEXT BASELINE
TEXT CHARACTER HEIGHT: 5/8" - 2"
BRAILLE BASELINE AT 48" - 60" AFF
6" MINIMUM PICTOGRAM FIELD HEIGHT
TEXT BELOW PICTOGRAM
30" X 48" CLEAR FLOOR SPACE AT ACCESSIBLE DRINKING FOUNTAIN (FORWARD OR PARALLEL APPROACH)
ACCESSIBLE DRINKING FOUNTAIN SPOUT OUTLET AT MAXIMUM 36" AFF
STANDING PERSON DRINKING FOUNTAIN SPOUT OUTLET HEIGHT AT 38" - 43" AFF
DRINKING FOUNTAIN SPOUT 15" MINIMUM FROM REAR WALL AND 5" MAXIMUM FROM FRONT EDGE INCLUDING BUMPER
PARALLEL APPROACH DRINKING FOUNTAIN SPOUT TO BE 3-1/2" MAXIMUM FROM FRONT EDGE INCLUDING BUMPER
DRINKING FOUNTAIN WATER FLOW FROM SPOUT TO BE 4" MINIMUM HIGH
DRINKING FOUNTAIN PROJECTS MAXIMUM 4" INTO CIRCULATION SPACE
ROOM NO. |  |  |  | DATE
ROOM NAME |  |  |  | EVALUATOR
ACCESSIBILITY: SINK AREA
| Y | N | NA | COMMENTS
30" X 48" CLEAR SPACE IN FRONT OF LAVATORY FROM TOE SPACE
TOP OF SINK RIM AT 34" AFF
8" MINIMUM KNEE CLEARANCE AT 27" AFF
11" MINIMUM LEG CLEARANCE AT 9" AFF
6" MINIMUM TOE CLEARANCE AT 9" AFF
NO DOOR SWING IN FIXTURE CLEARANCE
INSULATED / COVERED DRAIN PIPE
SINGLE MOTION FAUCET LEVERS OR AUTOMATIC OPERATION
AUTOMATIC FAUCET WITH MINIMUM 10 SECONDS ON
WATER FLOW AT 11" FROM COUNTER EDGE
SOAP FLOW AT 11" FROM COUNTER EDGE
BOTTOM OF MIRROR AT 40" AFF
SHELF AT 48" MAXIMUM AFF
TOP OF PAPER TOWEL OPERATOR AT 48" MAXIMUM AFF
TOP OF HAND DRYER OPERATOR AT 48"MAXIMUM AFF
SANITARY PRODUCTS DISPENSER OPERATION AT 48" MAXIMUM AFF
TOP OF BABY CHANGING TABLE / SURFACE AT 34" MAXIMUM AFF
TOP OF BIOHAZARD DISPOSAL ACCESS AT 48" MAXIMUM AFF
COAT HOOK AT 48" MAXIMUM AFF TO TOP OF HOOK
ROOM NO. |  |  |  | DATE
ROOM NAME |  |  |  | EVALUATOR
ACCESSIBILITY: URINAL AREA
| Y | N | NA | COMMENTS
30" X 48" CLEAR SPACE IN FRONT OF URINAL
TOP OF URINAL RIM AT 17" AFF
TOP OF MANUAL URINAL FLUSH VALVE AT 48" MAXIMUM AFF
SHELF AT MAXIMUM 48" AFF
ROOM NO. |  |  |  | DATE
ROOM NAME |  |  |  | EVALUATOR
ACCESSIBILITY: TOILET AREA
| Y | N | NA | COMMENTS
60" X 36" AMBULATORY STALL WITH OUTSWINGING DOOR
CENTER OF AMBULATORY TOILET AT 17" - 19" FROM SIDE WALL
42" LONG SIDE-GRAB BAR IN AMBULATORY STALL AT 33" - 36" TO TOP AND 12" FROM REAR OF STALL (BOTH SIDES OF STALL)
60" X 48" CLEAR SPACE IN FRONT OF ACCESSIBLE TOILET
NO DOOR SWING IN FIXTURE CLEARANCE
9" MINIMUM CLEAR HEIGHT BELOW PARTITIONS TO A 6" DEPTH BEYOND (NOT REQUIRED IN 62" DEEP X 66" WIDE STALL)
36" WIDE PARTITION DOOR
42" CLEAR ON FRONT OF ACCESSIBLE STALL DOOR WITH SIDE APPROACH
SELF-CLOSING DOOR (ON AMBULATORY STALL TOO)
SINGLE MOTION DOOR HARDWARE
CENTER OF ACCESSIBLE TOILET AT 16" - 18" FROM SIDE WALL
TOP OF TOILET SEAT AT 17" - 19" AFF
TOP OF MANUAL TOILET FLUSH VALVE AT 48" MAXIMUM AFF AND ON OPEN SIDE OF ACCESSIBLE TOILET
42" LONG SIDE-GRAB BAR IN ACCESSIBLE STALL AT 33" - 36" TO TOP AND 12" FROM REAR OF STALL)
18" HIGH VERTICAL SIDE-GRAB BAR IN ACCESSIBLE STALL WITH BOTTOM AT 39"- 41" AFF AND 39"- 41" FROM REAR WALL
36" LONG REAR-GRAB BAR IN ACCESSIBLE STALL AT 33" - 36" TO TOP AND 12" FROM REAR OF STALL)
CENTER OF TOILET PAPER DISPENSER 7" - 9" IN FRONT OF TOILET. PAPER OUTLET AT 15" MINIMUM AFF AND 48" MAXIMUM AFF.
TOP OF TOILET PAPER DISPENSER 1-1/2" MINIMUM BELOW GRAB BAR OR BOTTOM IS 12" MINIMUM ABOVE GRAB BAR
TOILET PAPER DISPENSER IS NOT BEHIND GRAB BAR
TOILET PAPER DELIVERY IS CONTINUOUS, NOT CONTROLLED
COAT HOOK AT 48" MAXIMUM AFF TO TOP OF HOOK
SHELF AT 48" MAXIMUM AFF
TOP OF TOILET SEAT PAPER DISPENSER OUTLET AT 48" MAXIMUM AFF
TOP OF BIOHAZARD DISPOSAL ACCESS AT 48" MAXIMUM AFF
CENTER OF SANITARY PRODUCTS OR WASTE DISPOSAL DOOR 48" MAXIMUM AFF