## TOTALS
| Projects | Airports | Diff Airports | States | Territories | Diff States
Bioenergy | 11 | 11 | 5 | 6 | 1 | 1
Fuel Cells | 4 | 4 | 2 | 4 | 0 | 0
Geothermal | 26 | 25 | 15 | 18 | 0 | 3
Solar PV | 158 | 116 | 116 | 36 | 1 | 36
Solar Thermal | 10 | 10 | 6 | 9 | 0 | 1
Wind | 10 | 9 | 2 | 6 | 0 | 0
TOTALS | 219 | 175 | 146 |  | 2 | 41
Storage | 6 | 6 | 0 | 4 | 0 | 0
0.72146

## Solar PV
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
SOLAR PV
Airport | Code | Hub Size | FAA Region | City | State | Technology | Capacity (kWDC) | Ownership | Power Purchasing | Funding | Location on Airport | Operational Date | Comments
Cottonwood Airport | P52 | GA | WPC | Cottonwood | AZ | Roof-mounted | 10 | Airport | On-Site Use | Airport | Airport building | 2015 | Powers airport lighting
Phoenix Sky Harbor | PHX | L | WPC | Phoenix | AZ | Roof-mounted | 5400 | Developer | Airport (energy), Utility (RECs) | Developer | Rental Car Center, East Economy Parking Garages | 2012 | Developed by Sunpower, Arizona Public Service is the utility
Tucson International Airport | TUS | S | WPC | Tucson | AZ | Canopy-mounted | 1000 | Airport | On-Site Use | FAA | Terminal Public Parking | 2014 | FAA Section 512 Grant: AIP 91%, airport and ADOT cost share
| TUS | S | WPC | Tucson | AZ | Canopy-mounted | 502 | FAA | FAA | FAA | Next to Control Tower | 2016 | Hannah Solar Govt Serv
| TUS | S | WPC | Tucson | AZ | Canopy-mounted | 1500 | Airport | On-Site Use | FAA | Terminal Public Parking | 2017 | FAA Section 512 Grant: AIP 91%, airport and ADOT cost share
Yuma International Airport | YUM | N | WPC | Yuma | AZ | Canopy-mounted | 500 | Developer | Airport | Developer | Terminal Public Parking | 2011 | Developed by Blue Renewable Energy, 20 year PPA with airport
Meadows Field | BFL | N | WPC | Bakersfield | CA | Single axis, Ground-mounted | 880 | Developer | Airport | Developer | Airfield | 2009 | Developed by Regenesis, owned by Nautilis
Hollywood Burbank Airport | BUR | M | WPC | Burbank | CA | Roof-mounted | 225 | Tenant | Tenant | Tenant | Hangar | 2008
San Rafael Airport | CA35 | GA | WPC | San Rafael | CA | Roof-mounted | 972 | Airport | Utility | Airport | Hangars | 2012
Santa Clara San Martin Airport | E16 | GA | WPC | San Martin | CA | Single axis, Ground-mounted | 1000 | Airport | On-Site Use | Airport | Airfield | 2017 | Marin Utility purchases, private airport
Fresno-Yosemite International Airport | FYI | S | WPC | Fresno | CA | Single axis, Ground-mounted | 2400 | Developer | Airport | Developer | Airfield near runway end | 2008 | Solar Power Partners was developer
Long Beach Airport | LGB | S | WPC | Long Beach | CA | Canopy-mounted, Dual axis, Trees | 6 | Airport | On-Site Use | Airport | Near project entrance | 2008 | SunTrek installed the units
Monterey Regional Airport | MRY | N | WPC | Monterey | CA | Single axis, Ground-mounted | 826 | Airport | Utility | Airport | Airfield | 2017
Oakland International Airport | OAK | M | WPC | Oakland | CA | Fixed tilt, Ground-mounted | 756 | Developer | Airport | Developer | Airfield | 2007 | Developed by SunEdison
| OAK | M | WPC | Oakland | CA | Roof-mounted | 904 | Tenant | Tenant | Tenant | Roof of Airport Building | 2005 | Federal Express is the tenant, PowerGuard Tiles
| OAK | M | WPC | Oakland | CA | Roof- and Canopy-mounted | 230 | FAA | FAA | FAA | Next to Control Tower | 2013
Palm Springs International Airport | PSP | S | WPC | Palm Springs | CA | Canopy-mounted | 204 | FAA | FAA | FAA | Next to Control Tower | 2015
Redding Municipal Airport | RDD | N | WPC | Redding | CA | Fixed tilt, Ground-mounted | 693 | Airport | On-Site Use | Airport | Airfield | 2010 | Equipment Lease
Santa Clara Reid-Hillview | RHV | GA | WPC | San Jose | CA | Single axis, Ground-mounted | 1000 | Airport | On-Site Use | Airport | Airfield | 2017
San Diego International Airport | SAN | L | WPC | San Diego | CA | Fixed tilt, Roof- and Canopy-mounted | 3300 | Developer | Airport | Developer | Roof Terminal 2, Surface Parking | 2016 | Borrego was the developer
| SAN | L | WPC | San Diego | CA | Roof-mounted | 554 | Developer | Tenant | Developer | LEED GA Terminal | 2014 | SpearPoint was the developer, PPA signed with Landmark Aviation
| SAN | L | WPC | San Diego | CA | Canopy-mounted | 2200 | Developer | Airport | Developer | Northside Economy Parking | 2017
Santa Barbara Airport | SBA | N | WPC | Santa Barbara | CA | Canopy and Roof-mounted | 159 | Airport | On-Site Use | Airport | Rental Car Maintenance Facility | 2009
San Bernardino International Airport | SBD | GA | WPC | San Bernardino | CA | Canopy-mounted | 632 | Airport | On-Site Use | Airport | Terminal Parking Lot | 2011
San Francisco International Airport | SFO | L | WPC | San Francisco | CA | Roof-mounted | 500 | Airport | On-Site Use | Airport | Terminal 3 | 2007
| SFO | L | WPC | San Francisco | CA | Roof-mounted | 20 | Airport | On-Site Use | Airport | Airport Administrative | 2001
| SFO | L | WPC | San Francisco | CA | Roof-mounted | 72 | Airport | On-Site Use | Airport | Airfield Operations Building | 2018
San Jose Mineta International Airport | SJC | M | WPC | San Jose | CA | Roof-mounted | 1100 | Airport | On-Site Use | Airport | Consolidated Rental Car Facility | 2010
Sacramento International Airport | SMF | M | WPC | Sacramento | CA | Single axis, Ground-mounted | 7900 | Developer | Airport | Developer | Airfield | 2017 | NRG was develoepr, Borrego the EPC contractor
Lake Tahoe Airport | TVL | GA | WPC | South Lake Tahoe | CA | Roof-mounted | 300 | Developer | Airport | Developer | Hangars | 2020 | Staten Solar is the developer, 20 year PPA
Van Nuys Airport | VNY | GA | WPC | Van Nuys | CA | Roof- and Canopy-mounted | 1500 | Tenant | On-Site Use | Tenant | Tenant Buildings | 2019 | Tenant is Aeroplex/Aerolease, More projects proposed
Colorado Springs Airport | COS | S | NWM | Colorado Springs | CO | Canopy-mounted | 100 | Airport | On-Site Use | Airport | Surface Parking, Valet | 2019 | Charge $5 premium
Denver International Airport | DEN | L | NWM | Denver | CO | Single axis, Ground-mounted | 2400 | Developer | Airport (energy), Utility (RECs) | Developer | Parking Entrance | 2008 | Fotowatio was the developer, Xcel is the utility
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 1600 | Developer | Airport (energy), Utility (RECs) | Developer | Fuel Farm | 2009 | Oak Leaf was the developer, Xcel the utility
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 4400 | Developer | Airport (energy), Utility (RECs) | Developer | North of Terminal Facilities | 2011 | Constellation was the developer, Xcel the utilit
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 2000 | Developer | Airport (energy), Utility (RECs) | Developer | North of Terminal Facilities | 2014 | Oak Leaf was the developer, Xcel the utility
| DEN | L | NWM | Denver | CO | Roof-mounted | 262 | Tenant | On-Site Use | Tenant | West of terminal on West 78th Avenue | 2014 | Hertz is the tenant
| DEN | L | NWM | Denver | CO | Canopy-mounted | 1300 | Utility | Utility | Developer | Parking Garage | 2017 | Microgrid project w/battery, Xcel is the utility
Rifle-Garfield County Airport | RIL | GA | NWM | Rifle | CO | Fixed tilt, Ground-mounted | 858 | Developer | Utility | Developer | Airfield | 2011 | Community solar, Clean Energy Collaborative is the developer, Holy Cross is the utility
Bradley International Airport | BDL | M | EST | Hartford | CT | Roof-mounted | 687 | Tenant | On-Site Use | Tenant | Hangar | 2015 | Signature Flight is the tenant
Page Field | FMY | GA | SOU | Fort Myers | FL | Roof-mounted | 200 | Airport | On-Site Use | Airport | Hangar | 2012
Gainesville Regional Airport | GNV | N | SOU | Gainesville | FL | Roof-mounted | 292 | Airport | On-Site Use | State and Utility | Terminal roof and rental car wash | 2012 | Selected by utility for feed-in tariff
Lakeland Linder International Airport | LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 2700 | Developer | Utility | Developer | Airfield Runway End | 2012 | SunEdison was the developer, airport paid $0.02/kW generated, equal to $325,000 in bill credits for all three projects
| LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 4200 | Developer | Utility | Developer | Airfield | 2015 | SunEdison was the developer
| LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 3150 | Developer | Utiity | Developer | Airfield | 2017 | NRG was the developer
Tallahassee Airport | TLH | N | SOU | Tallahassee | FL | Roof-mounted | 25 | Airport | On-Site Use | Airport | Terminal roof | 2012
| TLH | N | SOU | Tallahassee | FL | Fixed tilt, Ground-mounted | 28000 | Developer | Utility | Developer | Airfield | 2018 | Origis Energy was the developer
| TLH | N | SOU | Tallahassee | FL | Fixed tilt, Ground-mounted | 55000 | Developer | Utility | Developer | Airfield | 2020 | Origis Energy was the developer
Tampa International Airport | TPA | L | SOU | Tampa | FL | Roof-mounted | 2000 | Utility | Utility | Utility | Parking Garage | 2015 | $15k/year lease to airport, Tampa Electric is the utility
Jackson-Hartsfield International Airport | ATL | L | SOU | Atlanta | GA | Roof-mounted | 82 | Airport | On-Site Use | Airport | Taxi Hold Rooftop | 2017
Decatur County Industrial Airpark | BGE | GA | SOU | Bainbridge | GA | Fixed tilt, Ground-mounted | 1250 | Developer | Airport (energy), Utility (RECs) | Developer | Airfield | 2019 | Georgia Power PPA, Nexamp is the developer
Cobb County International Airport | RYY | GA | SOU | Kennesaw | GA | Roof-mounted | 140 | Tenant | On-Site Use | USDOE | Airport Hangars | 2011 | Atlanta Jet Center (FBO), ARRA Funds
Valdosta Regional Airport | VLD | N | SOU | Valdosta | GA | Fixed tilt, Ground-mounted | 200 | Utility | Airport (energy), Utility (RECs) | Utility | Open area | 2016 | Georgia Power is the utility
Daniel K. Inouye International Airport | HNL | L | WPC | Honolulu | HI | Canopy-mounted | 2000 | Airport | On-Site Use | Airport | Terminal 1 Parking | 2018 | Johnson Controls installed
| HNL | L | WPC | Honolulu | HI | Canopy-mounted | 1400 | Airport | On-Site Use | Airport | Terminal 2 Parking | 2019 | Johnson Controls installed
Hilo International Airport | ITO | S | WPC | Hilo | HI | Roof-mounted | 111 | Airport | On-Site Use | Airport | Terminal Roof | 2012
Ellison Onizuka Kona International Airport | KOA | S | WPC | Kalaoa | HI | Canopy-mounted |  |  |  |  | Terminal parking
Lihue Airport | LIH | S | WPC | Lihue | HI | Roof-mounted | 338 | Airport | On-Site Use | Airport | Terminal roof | 2012
Lanai Airport | LNY | N | WPC | Lanai City | HI | Roof-mounted | 117 | Airport | On-Site Use | Airport | Terminal roof | 2012
Waimea-Kohala Airpport | MUE | N | WPC | Kamuela | HI | Roof-mounted | 21 | Airport | On-Site Use | Airport | Terminal roof | 2012
Kahului Airport | OGG | M | WPC | Kahului | HI | Roof-mounted | 327 | Airport | On-Site Use | Airport | Cargo Building | 2012
| OGG | M | WPC | Kahului | HI | Roof-mounted | 42 | Airport | On-Site Use | Airport | T-Hangars | 2012
| OGG | M | WPC | Kahului | HI | Roof-mounted |  |  |  |  | Consolidated Rental Car Facility | 2019
The Eastern Iowa Airport | CID | S | CEN | Cedar Rapids | IA | Roof-mounted | 240 | Airport | On-Site Use | Airport | Terminal roof | 2020 | In operation as of January 2020.
McCall Municipal Airport | MYL | GA | NWM | McCall | ID | Roof-mounted | 9 | Airport | On-Site Use | Airport | Airport Administrative Building | 2012
Chicago-Midway International Airport | MDW | L | GRL | Chicago | IL | Roof-mounted | 25 | Airport | On-Site Use | Airport | Consolidated Rental Car Facility - QTA | 2013 | Johnson Melloh construction
Chicago-Rockford International Airport | RFD | L | GRL | Rockford | IL | Fixed tilt, Ground-mounted | 3000 | Developer | Utility | Developer | Airfield in RPZ | 2012 | 20 year PPA, New Generation was the developer, Ameren is the utility
Taylorville Municipal Airport | TAZ | GA | GRL | Taylorville | IL | Fixed tilt, Ground-mounted | 19 | Airport | On-Site Use | Airport | Airfield | 2012
Mettel Field Airport | CEV | GA | GRL | Connersville | IN | Fixed tilt, Ground-mounted | 46.4 | Airport | Utility | Utility | Airfield | 2020
Evansville Regional Airport | EVV | N | GRL | Evansville | IN | Canopy-mounted | 1300 | Airport | On-Site Use | Airport | Short-term and rental parking lots | 2019 | Johnson Melloh construction
Indianapolis International Airport | IND | M | GRL | Indianapolis | IN | Fixed tilt, Ground-mounted | 12500 | Developer | Utility | Developer | Airfield | 2013 | 15 year PPA, Geneal Energy Solutions was the developer, Indianapolis Power and Light is the utility
| IND | M | GRL | Indianapolis | IN | Single axis, Ground-mounted | 9500 | Developer | Utility | Developer | Airfield | 2014 | Geneal Energy Solutions was the developer, Indianapolis Power and Light is the utility
| IND | M | GRL | Indianapolis | IN | Single axis, Ground-mounted | 3200 | Developer | Utility | Developer | Airfield | 2015 | Geneal Energy Solutions was the developer, Indianapolis Power and Light is the utility
North Vernon Municipal Airport | OVO | GA | GRL | North Vernon | IN | Fixed tilt, Ground-mounted | 68 | Airport | On-Site Use | Airport | Airfield | 2019
Plymouth Municipal Airport | PLY | GA | GRL | Plymouth | IN | Fixed tilt, Ground-mounted | 238 | Developer | On-Site Use | Utility | Airfield | 2017 | GES/Telemon was the developer, Utility is NIPSCO, Airport will own in 15 years
Topeka Regional Airport | FOE | N | CEN | Topeka | KS | Roof-mounted | 10 | Airport | On-Site Use | Airport | Water Storage Tank | 2009 | PPA, Land lease revenue
Salina Regional Airport | SLN | N | CEN | Salina | KS | Fixed tilt, Ground-mounted | 20 | Tenant | On-Site Use | Tenant | Ground adjacent to Student Life Center | 2017 | 74 solar panels, Located at Kansas State University Polytechnic Campus
Northampton Airport | 7B2 | GA | EST | Northampton | MA | Roof-mounted | 10 | Airport | On-Site Use | Airport | Hangar | 2011
Hanscom Field | BED | GA | EST | Bedford | MA | Roof-mounted | 45 | Airport | On-Site Use | Airport | Terminal building | 2011
Boston-Logan International Airport | BOS | L | EST | Boston | MA | Roof-mounted | 367 | Developer | Airport | Developer | Terminal A and Annex Roof | 2011 | Ameresco was developer, sells power to airport through a PPA
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 200 | Airport | On-Site Use | Airport | Deck of Terminal B Parking Garage | 2010
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 81 | Airport | On-Site Use | Airport | Deck of Economy Parking Garage | 2011
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 150 | Airport | On-Site Use | Airport | Deck of Consolidated Rental Facility | 2013
| BOS | L | EST | Boston | MA | Roof-mounted | 50 | Airport | On-Site Use | Airport | On Green Bus Depot | 2014
Barnstable Municipal Airport | HYA | N | EST | Barnstable | MA | Fixed tilt, Ground-mounted | 6000 | Developer | Utility | Developer | Airfield | 2014 | G&S Solar was developer, CVEC signed PPA
BWI Thurgood Marshall International Airport | BWI | L | EST | Baltimore | MD | Canopy-mounted | 505 | Airport | On-Site Use | Airport | Top level of Daily Parking Garage | 2012 | PEPCO energy services / Constellation
Brunswick Executive Airport | BXM | GA | EST | Brunswick | ME | Fixed tilt, Ground-mounted | 1500 | Developer | Airport | Developer | Airfield | 2018 | Developer is Diversified Communications, Provides 13.3% of MRRA's power
Portland International Jetport | PWM | S | EST | Portland | ME | Roof-mounted | 335 | Airport | On-Site Use | FAA | Roof-mounted on Parking Garage Canopy | 2018 | AIP funds through Section 512 Program
Sanford Regional Airport | SFM | GA | EST | Sanford | ME | Fixed tilt, Ground-mounted | 50000 | Developer | Utility | Developer | Airfield | Under Construction | Nextera is developer, PPA with regional utility, Land lease revenue
Delta County Airport | ESC | N | GRL | Escanaba | MI | Fixed tilt, Ground-mounted | 1100 | Utility | Utility | Utility | Airfield | 2018
Oakland County International Airport | PTK | GA | GRL | Waterford | MI | Roof-mounted | 25 | Airport | On-Site Use | USDOE | Terminal building | 2011 | ARRA
Minneapolis-St. Paul International Airport | MSP | L | GRL | Minneapolis | MN | Canopy-mounted | 3000 | Airport | On-Site Use | Airport | Parking Garage deck, Terminal 1 | 2015 | QECB Bond, grant from utility, Xcel
| MSP | L | GRL | Minneapolis | MN | Canopy-mounted | 1300 | Airport | On-Site Use | Airport | Parking garage ramps, Terminal 2 | 2017
Marshall Municipal Airport | MHL | GA | CEN | Marshall | MO | Fixed tilt, Ground-mounted | 3200 | Developer | Utility | Developer | Airfield land west of airport | 2016 | MC Power built the project. Power is sold to the Missouri Joint Municipal Electric Utility in a 25 yr contract
Mexico Memorial Airport | MYJ | GA | CEN | Mexico | MO | Roof-mounted | 36 | Airport | On-Site Use | Airport | Airport building | 2012
St. Louis-Lambert International Airport | STL | M | CEN | St. Louis | MO | Fixed tilt, Ground-mounted | 1000 | Utility | Utility | Utility | Unused airport land on approach to runway | 2019 | Amren is utility, pays lease for airport land, offers green power to customers
Charlotte International Airport | CLT | L | EST | Charlotte | NC | Roof-mounted | 306 | Developer | Airport (energy), Utility (RECs) | Developer | Airport Administration Building | 2010 | NARENCO was developer, Duke is utility, Lease payment to airport
| CLT | L | EST | Charlotte | NC | Roof-mounted | 120 |  |  |  |  | 2012
Shelby Cleveland County Airport | EHO | GA | EST | Shelby | NC | Fixed tilt, Ground-mounted | 1000 | Developer | Utility | Developer | Land at entrance | 2010 | Duke energy is the developer, NC Municipal PowerAgency is the utility, lease payment to airport
Warren Field | OCW | GA | EST | Washington | NC | Fixed tilt, Ground-mounted | 5000 | Developer | Utility | Developer | Airfield | 2013 | Duke energy is the developer, NC Municipal PowerAgency is the utility, lease payment to airport
Lebanon Municipal Airport | LEB | N | EST | Lebanon | NH | Roof-mounted | 219 | Tenant | Tenant | Tenant | Hangar building | 2018 | Granite Air Center is the tenant
Manchester-Boston Regional Airport | MHT | S | EST | Manchester | NH | Canopy-mounted | 530 | Airport | On-Site Use | FAA | Main parking garage deck | 2015 | Funded by AIP through VALE Program
Newark-Liberty International Airport | EWR | L | EST | Newark | NJ | Roof-mounted | 633 | Developer | On-Site Use | Developer | Four buildings | 2014 | Maintenance and Cargo Buildings, Borrego was the developer
| EWR | L | EST | Newark | NJ | Roof-mounted | 3300 | Tenant | Tenant | Tenant | Three buildings | 2012 | Federal Express is the tenant
Teterboro Airport | TET | GA | EST | Teterboro | NJ | Roof-mounted | 698 | Developer | Tenant | Developer | Building roofs | 2006 | Sunlight General was the developer, Jet Aviation the Tenant, PAA signed, UniSolar Thin Film technology used
Albuquerque International Airport | ALB | M | SOW | Albuquerque | NM | Roof-mounted | 146 | Airport | On-Site Use | FAA | Existing roof structures on parking garage deck | 2009
| ALB | M | SOW | Albuquerque | NM | Roof-mounted | 438 | Airport | On-Site Use | FAA | Existing roof structures on parking garage deck | 2010
| ALB | M | SOW | Albuquerque | NM | Roof-mounted | 365 | Airport | Airport | State | Existing roof structures on parking garage deck | 2011 | $200,000 grant
Alamogordo-White Sands Regional Airport | ALM | GA | SOW | Alamogordo | NM | Canopy-mounted | 8 | Airport | On-Site Use | State | Adjacent to airport buildings | 2008 | Department of Mines State grant of $100,000
Belen Regional Airport | BRG | GA | SOW | Belen | NM | Roof-mounted | 12 | Airport | On-Site Use | USDA | Hangar Roof | 2011 | 50 panels, installed by Blue Skies Consulting
Reno-Tahoe International Airport | RNO | S | WPC | Reno | NV | Fixed tilt, Ground-mounted | 135 | Airport | On-Site Use | Airport | ARFF Building | 2012
Francis S. Gabreski Airport | FOK | GA | EST | Westhampton | NY | Fixed tilt, Ground-mounted | 2400 | Developer | Utility | Utility | Airfield | 2019 | Two arrays, 20 yr PPA w/ PSEG Long Island Power Authority - developer AES
Brookhaven Calabro Airport | HWV | GA | EST | Brookhaven | NY | Fixed tilt, Ground-mounted | 3500 | Developer | Utility | Utility | Airfield | 2020 | Four arrays, 20 yr PPA w/ PSEG Long Island Power Authority - developer Madbury Capital, Agilitas Energy
Long Island MacArthur Airport | ISP | S | EST | Islip | NY | Roof-mounted | 13 | Airport | On-Site Use | Airport | Terminal roof | 2010
Greater Rochester International Airport | ROC | S | EST | Rochester | NY | Roof-mounted | 180 | Airport | On-Site Use | Airport | Terminal Roof | 2013
Stewart Airport | SWF | N | EST | New Windsor | NY | Roof-mounted | 82 | Airport | On-Site Use | Airport | Terminal Roof | 2016
Wyandot County Airport | 56D | GA | GRL | Wyandot | OH | Fixed tilt, Ground-mounted | 12000 | Developer | Utility | Developer | Airfield | 2010 | 20 year PPA, PSEG was developer
Cleveland-Hopkins International Airport | CLE | M | GRL | Cleveland | OH | Canopy-mounted | 50 | Airport | Airport | Airport | Red and Blue Lots | 2016 | 180 panels, Powers lights in parking garage, can be expanded
John Glenn Columbus International Airport | CMH | M | GRL | Columbus | OH | Roof-mounted | 90 | Airport | On-Site Use | Airport and Concessionaires | Concourse A | 2015 |  | RECs
Corvallis Municipal Airport | CVO | GA | NWM | Corvallis | OR | Fixed tilt, Ground-mounted | 100 | City | On-Site Use | Airport | Airfield | 2017
Rogue Valley International Medford Airport | MFR | S | NWM | Medford | OR | Canopy-mounted | 25 | Airport | On-Site Use | Utility, Non-Profit | Parking lot walkway | 2013 | Net metered, incentive from Pacific Power, grant from Oregon Energy Trust |  | Heritage Aviation
| MFR | S | NWM | Medford | OR | Canopy-mounted | 36 | Airport | On-Site Use | Utility, Non-Profit | Parking lot walkway | 2015 | Net metered, incentive from Pacific Power, grant from Oregon Energy Trust
Eastern Oregon Regional Airport | PDT | N | NWM | Pendleton | OR | Fixed tilt, Ground-mounted | 6000 | Developer | Utility | Developer | Land near airport entrance | 2018 | Developer was Cypress Creek
Portland International Airport | PDX | L | NWM | Portland | OR | Fixed tilt, Ground-mounted | 40 | Airport | On-Site Use | Utility | Deicing Center | 2011 | Utility is Portland Power and Light
| PDX | L | NWM | Portland | OR | Roof-mounted | 31 | Tenant | Tenant | Tenant | PDX Nike Store | 2017 | Tenants are Nike and NWA
Redmond Municipal Airport | RDM | N | NWM | Redmond | OR | Roof-mounted | 44 | Airport | On-Site Use | Airport | Terminal Roof | 2010
Columbia Metropolitan Airport | CME | S | SOU | Columbia | SC | Fixed tilt, Ground-mounted | 1300 | Developer | Utility | Developer | Airfield | 2017 | Developer was ConEd Solutions, assigns bill credits
Pierre Municipal Airport | PIR | N | GRL | Pierre | SD | Fixed tilt, Ground-mounted | 1000 | Airport | Utility | Utility | Airfield | 2016 | Utility is Missouri River Energy Services
Chattanooga Metropolitan Airport | CHA | S | CEN | Chattanooga | TN | Fixed tilt, Ground-mounted | 1000 | Airport | On-Site Use | FAA | Airfield | 2011 | Funded by AIP through VALE Program
| CHA | S | CEN | Chattanooga | TN | Fixed tilt, Ground-mounted | 1100 | Airport | On-Site Use | FAA | Airfield | 2013 | Funded by AIP through VALE Program
| CHA | S | CEN | Chattanooga | TN | Fixed tilt, Ground-mounted | 500 | Airport | On-Site Use | FAA | Airfield | 2019
Clarksville Regional Airport | CKV | GA | CEN | Clarksville | TN | Roof-mounted | 15 | Airport | On-Site Use | Airport | Main airport building | 2019
Nashville International Airport | BNA | M | CEN | Nashville | TN | Roof- and Canopy-mounted | 60 | Airport | On-Site Use | Airport | New and existing parking canopies | 2016 | One canopy charges electric vehicles
Smyrna Airport | MQY | GA | CEN | Smyrna | TN | Fixed tilt, Ground-mounted | 1000 | Developer | Utility | Developer | Ground in Office Park | 2012 | Soltas was developer, owned by True Green, TVA is the Utility
Austin-Bergstrom International Airport | AUS | M | SOW | Austin | TX | Fixed tilt, Ground-mounted | 84 | Airport | On-Site Use | Airport | Ground Near Cargo | 1998
| AUS | M | SOW | Austin | TX | Canopy-mounted | 27 | Airport | On-Site Use | Airport | Taxi Staging Areas | 2000
| AUS | M | SOW | Austin | TX | Canopy-mounted | 1750 | Utility | Utility | Utility | Blue Garage | 2019 | 3,200 MWh, Utility is Austin Energy, provides green power to customers through subscription
Dallas-Fort Worth International Airport | DFW | L | SOW | DFW | TX | Fixed tilt, Ground-mounted | 187 | Airport | On-Site Use | Airport | Airport Administration Building | 2011
El Paso International Airport | ELP | S | SOW | El Paso | TX | Canopy-mounted
George Bush Intercontinental Airport | IAH | L | SOW | Houston | TX | Fixed tilt, Ground-mounted | 60 | Airport | On-Site Use | FAA | Central utility plant | 2009
San Antonio International Airport | SAT | M | SOW | San Antonio | TX | Fixed tilt, Ground-mounted | 300 | Airport | On-Site Use | Airport | Parking Garage | 2010
Warrenton-Fauquier Airport | HWY | GA | EST | Warrenton | VA | Roof-mounted | 25 | Airport | On-Site Use | Private Funding | New Terminal | 2020 | 79 panels, funded by a local beneficiary
Cyril King Airport | STT | N | SOU | Charlotte Amamlie | VI | Fixed tilt, Ground-mounted | 600 | Airport | On-Site Use | USDOE | Airfield next to runway | 2011 | Funded by US Dept of Energy through ARRA, damaged by Hurricane in 2017, refurbished in 2019
Burlington International Airport | BVT | S | EST | Burlington | VT | Canopy-mounted | 578 | Utility | On-Site Use | Utility | Parkkng Garage Top Deck | 2015 | Encore Renewable constructed the project, Burlington Electric is the utility |  | Borrego was the developer
| BVT | S | EST | Burlington | VT | Roof-mounted | 25 | Tenant | On-Site Use | Tenant | FBO Terminal Roof | 2011
Southern Vermont Regional Airport | RUT | N | EST | Rutland | VT | Fixed tilt, Ground-mounted | 60 | Airport | On-Site Use | Airport | Airfield Entrance | 2013
Walla Walla Regional Airport | ALW | N | NWM | Walla Walla | WA | Roof-mounted | 75 | Airport | On-Site Use | Airport | Terminal Building | 2012
Lopez Island Airport | S31 | GA | NWM | Lopez Island | WA | Roof-mounted | 25 | Airport | On-Site Use | Airport | Airport building | 2014 | 50% of airport's energy
Jefferson County International Airport | TWD | GA | NWM | Port Townsend | WA | Fixed tilt, Ground-mounted | 16 | Airport | On-Site Use | Airport | Airfield | 2012
Appleton International Airport | ATW | N | GRL | Appleton | WI | Roof-mounted | 50 | Airport | On-Site Use | Airport | Terminal Building | 2010
| ATW | N | GRL | Appleton | WI | Roof-mounted | 25 | Airport | On-Site Use | Airport | General Aviation Terminal Building | 2013
| ATW | N | GRL | Appleton | WI | Canopy-mounted | 230 | Airport | On-Site Use | FAA | Terminal Parking | 2017 | AIP funds paid for 50% of project
| ATW | N | GRL | Appleton | WI | Canopy-mounted | 230 | Airport | On-Site Use | FAA | Terminal Parking | 2019 | AIP funds paid for 50% of project
Middleton Municipal Airport | C29 | GA | GRL | Middleton | WI | Fixed tilt, Ground-mounted | 5000 | Developer | Utility | Utility | Airfield | Under Construction | One Energy is developer, Madison Gas and Electric is utility, subscriptions to customers
Dane County Regional Airport | MSN | S | GRL | Madison | WI | Roof-mounted | 100 | Airport | On-Site Use | Airport | Maintenance Building | 2014
| MSN | S | GRL | Madison | WI | Canopy-mounted | 10 | Airport | On-Site Use | Airport | Rental Car | 2009
Yeager Airport | CRW | N | EST | Charleston | WV | Canopy-mounted | 630 | Airport | On-Site Use | FAA | Long-Term Parking Garage | 2019 | AIP funds through Section 512 Program
Southwest Wyoming Regional Airport | RKS | N | NWM | Rock Springs | WY | Roof-mounted | 30 | Airport | On-Site Use | Utility | Terminal and Hangar | 2018 | Rocky Mountain Power's Blue Sky Program
305119.4
Sharp Solar Case Study, Arizona Public Service
Not on Airport Property
Prescott Regional Airport | PRC |  |  | Prescott | AZ | Single axis, Ground-mounted | 3600 | Utility | Utility | Utility |  | 2005
Projects Removed
Glendale Municipal | GEU |  |  | Glendale | AZ | Dual axis, Ground-mounted | 172 | Utility | Utility | Utility | Project removed by APS in 2018 after 20 year lease expired | 1999 | Owned by Arizona Public Service, Low cost lease
TOTAL Number of Projects | 154
TOTAL Number of Airports | 112
TOTAL Capacity (kW) | 305119.4
Airport Size
L | 35
M | 24
S | 27
N | 31
GA | 37
FAA Region
EST | 30
CEN | 11
SOU | 15
GRL | 24
SOW | 12
NWM | 20
WPC | 42
Projects by Design
Roof-mounted | 67
Ground-mounted | 55 | Fixed | 43 | SAT | 12
Canopy-mounted | 38
Projects by Owner
Airport | 87
Developer | 40
Tenant | 11
Utility | 7
FAA | 3
Projects by Power Purchaser
On-Site Use | 92
Airport through PPA | 19
Tenant | 7
Utility | 27
FAA | 3
Primary Funding for Project
Airport | 63
Developer | 39
Tenant | 11
Utility | 11
FAA | 16
State | 2
USDOE | 3
USDA | 1
Other (shared cost) | 4
Installations by Date
1998-2006 | 6
2007 | 2
2008 | 5
2009 | 7
2010 | 11
2011 | 17
2012 | 23
2013 | 10
2014 | 10
2015 | 11
2016 | 7
2017 | 16
2018 | 9
2019 | 14
2020 | 4

## Solar Data
Technology | [5 empty] | References
[6 empty] | Hub Size | CY 2018 Enplanements
Number of Projects by Technology | [6 empty] | https://www.faa.gov/airports/planning_capacity/passenger_allcargo_stats/passenger/
SOLAR DATA
TOTAL Number of Projects | 158
TOTAL Capacity (kW) | 305219
Airport Size
Large | 35
Medium | 24
Small | 27
Nonhub | 31
General Aviation | 41
FAA Region
Eastern | 32
Central | 12
Southern | 15
Great Lakes | 25
Southwestern | 12
Northwest Mountain | 20
Western/Pacific | 42
Projects by Design
Roof-mounted | 67
Ground-mounted | 59 | Fixed | 42 | SAT | 12
Canopy-mounted | 38
164
Projects by Owner
Airport | 88
FAA | 3
Developer | 43
Tenant | 11
Utility | 7
Projects by Power Purchaser
On-Site Use | 92
Airport through PPA | 19
Tenant | 7
Utility | 31
FAA | 3
Primary Funding for Project
Airport | 63
Developer | 42
Tenant | 11
Utility | 12
FAA | 16
Other government | 6
Cost Share | 4
Installations by Date
1998-2006 | 6
2007 | 2
2008 | 5
2009 | 7
2010 | 11
2011 | 16
2012 | 23
2013 | 10
2014 | 10
2015 | 11
2016 | 8
2017 | 16
2018 | 9
2019 | 16
150
Installations by Date (Cumulative)
1998-2006 | 6
2007 | 8
2008 | 13
2009 | 20
2010 | 31
2011 | 47
2012 | 70
2013 | 80
2014 | 90
2015 | 101
2016 | 109
2017 | 125
2018 | 134
2019 | 150

## Geo-GSHP
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
GEOTHERMAL / GROUND SOURCE HEAT PUMP
Airport | Code | Hub Size | FAA Region | City | State | Technology | Capacity | Type | Ownership | Funding | Location on Airport | Operational Date | Comments
(Geothermal, GHP)
Juneau International Airport | JNU | N | ALK | Juneau | AK | GHP - Heating and Cooling | 108 bore holes | Horizontal | Airport | Alaska Energy Authority 50% | Co-located with Terminal Renovation | 2011
Oakland International Airport | OAK | M | WPC | Oakland | CA | GHP |  |  | FAA | FAA | Air Traffic Control Tower | 2013 | 79.6 tons of cooling
Eastern Iowa Airport | CID | S | CEN | Cedar Rapids | IA | GHP - Heating and Cooling |  | Vertical | Airport |  | Co-located with Terminal Expansion | 2018 | Case Summary
Chicago O'Hare International Airport | ORD | L | GRL | Chicago | IL | GHP - Heating and Cooling |  |  | FAA | FAA | Air Traffic Control Tower | 2015 | 76.4 tons of cooling
South Bend International Airport | SBN | N | GRL | South Bend | IN | GHP - Heating and Cooling |  | Horizontal | Airport |  | New Concourse | 2010
| SBN | N | GRL | South Bend | IN | GHP - Heating and Cooling | 276 bore holes | Vertical | Airport | VALE | Terminal Modernization | 2014
Nantucket Memorial Airport | ACK | N | EST | Nantucket | MA | GHP - Heating and Cooling |  | Vertical | Airport |  | New Terminal Building | 2009 | LEED, four heat pumps
Knox County Regional Airport | RKD | N | EST | Owl's Head | ME | GHP - Heating and Cooling | 12 bore holes |  | Airport | VALE | New Terminal Building | 2010
Portland Jetport | PWM | S | EST | Portland | ME | GHP - Heating and Cooling | 120 bore holes | Vertical | Airport | VALE | Terminal Expansion | 2011
Oakland County International | PTK | GA | GRL | Waterford | MI | GHP - Heating and Cooling | 6 bore holes | Horizontal | Airport |  | New Terminal Building | 2011 | LEED
Bemidji Regional Airport | BJI | N | GRL | Bemidji | MN | GHP - Heating and Cooling |  |  | Airport |  | New Terminal Building | 2012
Duluth International Airport | DLH | N | GRL | Duluth | MN | GHP - Heating and Cooling | 80 bore holes | Vertical | Airport | VALE | New Terminal Building | 2013
Bozeman-Yellowstone Airport | BZN | S | NWM | Bozeman | MT | GHP - Heating and Cooling |  |  | Airport |  | Terminal Building | 2011
Greater Binghamton Airport | BGM | N | EST | Binghamton | NY | GHP - Cooling | 20 vertical, 2 horizontal | Vertical/Horizontal | Airport | NYSERDA, FAA | Apron Heating and Terminal Cooling | 2013
Bismarck Municipal Airport | BIS | N | GRL | Bismarck | ND | GHP - Heating and Cooling |  |  | Airport |  | New Terminal Building | 2005
Dickinson Theodore Roosevelt Regional | DIK | N | GRL | Dickinson | ND | GHP - Heating and Cooling | 14 bore holes |  | Airport |  | Terminal
Grand Forks International Airport | GFK | N | GRL | Grand Forks | ND | GHP - Heating and Cooling | 16 bore holes | Horizontal | Airport |  | Terminal | 2011 | LEED Silver
Portland International Airport | PDX | L | NWM | Portland | OR | GHP - Heating and Cooling | 200 bore holes | Vertical | Airport |  | Port of Portland Headquarters | 2010 | LEED
University Park Airport | UNV | N | EST | State College | PA | GHP - Heating and Cooling | 33 bore holes | Vertical | Airport | ESCO | Terminal | 2010 | Retrofit
Nashville International Airport | BNA | M | CEN | Nashville | TN | Geothermal Lake Plate |  | Water | Airport | FAA 512 Grant | Terminal | 2016
Dallas-Fort Worth International Airport | DFW | L | SOW | DFW | TX |  |  |  | Airport
Warrenton-Fauquier Airport | HWY | GA | EST | Warrenton | VA | GHP - Heating and Cooling | 28 bore holes | Vertical | Airport | Private funding | Terminal, parking lot | 2020
Dane County Regional Airport | MSN | S | GRL | Madison | WI | GHP - Heating and Cooling |  |  | Airport |  | Maintenance Building | 2014 | LEED
Appleton International Airport | ATW | N | GRL | Appleton | WI | GHP - Heating and Cooling | 20 bore holes |  | Airport |  | General Aviation Terminal | 2013 | LEED
Green Bay Austin-Straubel International Airport | GRB | N | GRL | Green Bay | WI | GHP - Heating and Cooling |  |  | Airport |  | Snow Removal Building
Central Wisconsin Airport | CWA | N | GRL | Mosinee | WI | GHP - Heating and Cooling |  |  | Airport |  | Terminal
TOTAL | 26
Projects by Hub Size
General Aviation | 2
Nonhub | 15
Small | 4
Medium | 2
Large | 3
FAA Region
Eastern | 6 | [11 empty] | 2005 | 1
Central | 2 | [11 empty] | 2009 | 1
Great Lakes | 13 | [10 empty] | 2011 | 2010 | 4
Southwestern | 1 | [11 empty] | 2011 | 5
Northwest Mountain | 2 | [10 empty] | 2018 | 2012 | 1
Western Pacific | 1 | [10 empty] | 2015 | 2013 | 3
Alaska | 1 | [10 empty] | 2010 | 2014 | 2
Southern | 0 | [10 empty] | 2014 | 2015 | 1
[12 empty] | 2009 | 2016 | 1
Project Ownership | [11 empty] | 2010 | 2017 | 0
Airport | 24 | [10 empty] | 2011 | 2018 | 1
FAA | 2 | [10 empty] | 2011 | 2019 | 0
[12 empty] | 2012 | 2020 | 1
2013
[12 empty] | 2011 | total | 21
2013
2005
2011
2010
2010
2016
2020
2014
2013

## Solar Thermal
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
SOLAR THERMAL
Airport | Code | Hub Size | FAA Region | City | State | Technology | Capacity | Ownership | Funding | Location on Airport | Operational Date | Comments
Birmingham-Shuttlesworth International Airport | BHM | S | SOU | Birmingham | AL | Solar Thermal - Water |  | Airport | ? | Terminal Roof | 2015 | Hot water for public restrooms
Boise Airport | BOI | S | NWM | Boise | ID | Solar Thermal - Water | 12 panel collectors | Airport | VALE | Terminal Roof | 2017 | Hot water heating
Abraham Lincoln Capital Airport | SPL | N | GRL | Springfield | IL | Solar Thermal - Water | 4 panel collectors | Airport | 40% state grant | Terminal Roof | 2013 | Hot water for terminal public restrooms
Chicago O'Hare International Airport | ORD | L | GRL | Chicago | IL | Solar Thermal - Water | 10 panel collectors | Airport | Airport | ARFF Roof | 2006 | Hot water for building use
Oakland County International Airport | PTK | GA | GRL | Waterford | MI | Solar Thermal - Water |  | Airport | ARRA Grant | Terminal Roof | 2011
Brainerd Lakes Regional Airport | BRD | N | GRL | Brainerd Lakes | MN | Solar Thermal - Air | 9 panel collectors | Airport | State, Regional Grants | Vehicle Storage Building | 2012 | Rural Renewable Energy Alliance
Plattsburgh International Airport | PBG | N | EST | Plattsburgh | NY | Solar Thermal - Air |  | Airport | ARRA Grant | Three hangars and one industrial building | 2011 | 20,840 sf of panels, Cost $621,000
Greenville-Spartanuerg International Airport | GSP | S | SOU | Greer | SC | Solar Thermal - Water |  | Airport |  | Roof of GA Terminal Building | 2010 | Buildng achieved LEED Gold
Burlington International Airport | BVT | S | EST | Burlington | VT | Solar Thermal - Water |  | Tenant | Private | Roof of FBO Building | 2011
Appleton International Airport | ATW | N | GRL | Appleton | WI | Solar Thermal - Water | 12 panel collectors | Airport | Airport | Roof of commercial terminal building | 2010
Projects by Hub Size
Large | 1
Medium | 0
Small | 4
Nonhub | 4
General Aviation | 1
FAA Region
Eastern | 2
Central | 0
Great Lakes | 5
Southern | 2
Southwestern | 0
Northwest Mountain | 1
Western Pacific | 0
Alaska | 0
Project Ownership
Airport | 9
Tenant | 1

## Wind
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
WIND
Airport | Code | Hub Size | FAA Region | City | State | Technology | Units - Rating | Capacity (kWDC) | Ownership | Funding | Location on Airport | Operational Date | Comments
Building-mounted, WTG
Daniel Inouye International Airport | HNL | L | WPC | Honolulu | HI | Building-mounted | 16 - 1 kW units | 16 | Airport | Airport | Roof of Airport Electrical Vault Building | 2009 | AeroVironment Wind Turbine
Chicago-Midway International Airport | MDW | L | GRL | Chicago | IL | Building-mounted | 24 - 1 kW units | 24 | Airport | Airport | Economy Parking Garage | 2013 | AeroVironment Wind Turbine
| MDW | L | GRL | Chicago | IL | Building-mounted | 9 - 1.5 kW units | 13.5 | Airport | Airport | Consolidated Rental Car Facility | 2013 | Swift Wind Turbines
Salina Regional Airport | SLN | N | CEN | Salina | KS | Ground-mounted | 10 kW unit | 10 | Tenant | University | Kansas State University Polytechnical, Next to Student Life Center | 2017 | 112 foot tall, Bergey Windpower Turbine
Boston-Logan Inetrnational Airport | BOS | L | EST | Boston | MA | Building-mounted | 20 - 1 kW units | 20 | Airport | Airport | Airport Administration Building | 2008 | AeroVironment Wind Turbine
Martha's Vineyard Airport | MVY | N | EST | Edgartown | MA | Ground-mounted | 50 kW | 50 | Developer | Develoepr | Airfield | 2011 | Eastern Wind Power Turbine
Oakland County International Airport | PTK | GA | GRL | Waterford | MI | Ground-mounted | 3 - 7.2 kW units | 21.6 | Airport | Airport | Ground Near Terminal | 2011 | Wind Spire wind turbines
Detroit Metropolitan Wayne County Airport | DTW | L | GRL | Detroit | MI | Ground-mounted | 6 - 7.2 kW units | 43.2 | Airport | Airport | Ground Near Terminal | 2010 | Wind Spire wind turbines
Minneapolis-St. Paul International Airport | MSP | L | GRL | Minneapolis | MN | Building-mounted | 10 - 1 kW units | 10 | Airport | Airport | Airport Fire Station | 2009 | AeroVironment Wind Turbine
Burlington International Airport | BVT | S | EST | Burlington | VT | Wind Turbine Generator | 100 kW | 100 | Tennt | Tenant | Heritage Aviation | 2010 | 125 foot tall, Northern Power Systems
TOTAL | 10
[7 empty] | TOTAL | 308.3
Projects by Hub Size
Large | 6
Medium | 0
Small | 1
Nonhub | 2
General Aviation | 1
FAA Region
Eastern | 3
Central | 1
Great Lakes | 5
Southern | 0
Southwestern | 0
Northwest Mountain | 0
Western Pacific | 1
Alaska | 0
Project Ownership
Airport | 7
Tenant | 2
Developer | 1

## Bioenergy
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
BIOENERGY
Airport | Code | State | Hub Size | FAA Region | Technology | Fuel | Capacity | Ownership | Funding | Location on Airport | Operational Date | Comments
Generator, Furnace, Boiler, Feedstock
Ketchikan International Airport | KTN | AK | N | ALK | Boiler - Heating | Woody Biomass | 500 MBH | Airport | Airport, AEA, USDA | Terminal | 2016 | Case Example
Los Angeles International Airport | LAX | CA | L | WPC | Renewable Natural Gas | Landfill Gas | 180,000 gallons, 10 buses | ABM Aviation | Tenant | CNG Fueling Station | 2019 | Purchases Redeem RNG
San Diego International Airport | SAN | CA | L | WPC | Renewable Natural Gas | Landfill Gas | 16 Buses | Airport | Airport | Two CNG Fueling Station | 2013 | Purchases Redeem RNG
San Francisco International Airport | SFO | CA | L | WPC | Renewable Natural Gas | Landfill Gas |  | Airport |  | Two CNG Fueling Station | 2013 | Purchases Redeem RNG
Daniel Inouye International Airport | HNL | HI | L | WPC | Backup Generator - Electricity | Biofuel | 8 MW | Utility/Airport | Utility | Airport Terminal
Brunswick Executive Airport | BXM | ME | GA | EST | Anaerobic Digestion - Electricity | Organic Waste |  | Private | Privately Financed | Airfield south of apron | 2016
Grant County Regional Airport | JDA | OR | GA | NWM | Boiler - Heating | Woody Biomass |  | Airport | Airport, USDA | Terminal | 2010
Rafael Hernandez Airport | BQN | PR | N | SOU | Backup Generator - Electricity | Wood Waste | 50 kW | Airport
Austin-Bergstrom International Airport | AUS | TX | M | SOW | Renewable Natural Gas | Landfill Gas | 50% of shuttle buses run on RNG | Airport | Airport |  | 2020 | Purchases Redeem RNG
Dallas-Fort Worth International Airport | DFW | TX | L | SOW | Renewable Natural Gas | Landfill Gas | 10% of CNG used by 189 shuttle buses and 120 airport vehicles | Airport | Airport | Two CNG Fueling Stations | 2017 | Purchases Redeem RNG
Seattle-Tacoma International Airport | SEA | WA | L | NWM | Renewable Natural Gas | Landfill Gas | Contract for supply sufficient to power 100% of CNG buses and 55% of Terminal heating | Airport | Airport | CNG Fueling Station and Terminal building | 2020 | Contract starts Oct 2020
TOTAL | 11
Fuel
Landfill Gas | 6
Woody Biomass | 3
Liquid Biofuel | 1
Digester Gas | 1
Projects by Hub Size
General Aviation | 2
Nonhub | 2
Large | 6
Small | 0
Medium | 1
FAA Region
Eastern | 1
Southwestern | 2
Northwest Mountain | 2
Western Pacific | 4
Alaska | 1
Southern | 1
Central | 0
Great Lakes | 0

## Purchasing
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
RENEWABLE ENERGY PURCHASING
Airport | Code | State | Technology | Capacity | Ownership | Funding | Location | Comments
Austin-Bergstrom International Airport | AUS | TX | Wind | 100% | Airport | Airport budget |  | Austin EnergyGreenChoice
Dallas-Fort Worth International Airport | DFW | TX | Wind |  | Airport | Airport budget |  | Reverse Auction
Salt Lake City International Airport | SLC | UT | Solar PV | 858 blocks - 4% | Airport | Airport budget | 20 MW Millard County | RMP Suscriber Solar
Burlington International Airport | BVT | VT | Various | 100% | Airport | Airport budget
Harrisburg International Airport | MDT | PA | Wind | 20% | Airport | Airport budget | Texas | 8/1/2018 - 07/31/2022 | Reverse Auction , Annual 2.6 M kWh

## Fuel Cell
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
Fuel Cell
Airport | Code | State | Hub Size | FAA Region | Technology | Capacity | Ownership | Funding | Location on Airport | Operational Date | Comments
Anchorage International Airport | ANC | AK | M | ALK | Bloom Energy | 50 kW | DOE | DOE | Vehicle Charging | 2013 | Two 25 kW units, $2.4m DOE Grant, one year demonstration
Oakland International Airport | OAK | CA | M | WPC | Tow Tractors | 15 Vehicles | Federal Express | DOE | Federal Express | 2012 | $2.5m DOE grant
Memphis International Airport | MEM | TN | S | CEN | Tow Tractors | 15 Vehicles | Federal Express | DOE | Federal Express | 2015 | Redeployed in 2018
Albany International Airport | ALB | NY | S | EST | Tow Tractors | 2 Vehicles | Federal Express | DOE | Federal Express | 2019 | Two from MEM moved to ALB

## Storage
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
Storage
Airport | Code | State | Technology | Capacity | Ownership | Funding | Location on Airport | Operational Date | Comments
San Diego International Airport | SAN | CA | Lithium Ion | 2 MW / 4 MWh | Airport | Airport |  | 2020
Denver International Airport | DEN | CO | Lithium Ion | 2 MW | Utility | Utility | Parking Garage | 2018 | Microgrid demonstration with Panasonic and Xcel
Chicago Midway International Airport | MDW | IL | Water Storage | 14,000 Ton-hours (49.4 MWh) or 1,116,200 lbs (528,988 kg) | Airport | Airport
Austin Bergstrom International Airport | AUS | TX | Water Storage |  | Airport | Airport
Dallas-Ft Worth International Airport | DFW | TX | Water Storage | 6 Million Gallons | Airport | Airport | Central Utility | 2005
San Antonio International Airport | SAT | TX | Water Storage | 0.5 Million Gallons | Airport | Airport | Central Utility | 1982

## Vehicles
ACRP Synthesis 02-21
Airport Renewable Energy Projects Inventory and Case Examples
BIOMASS
Airport | Code | State | Technology | Fuel | Capacity | Ownership | Funding | Location on Airport | Operational Date | Comments
Blue Grass Airport | LEX | KY | Posicharge | Electricity | 240 V | United Airlines | United Airlines | Under Terminal | 2019 | Stations for charging tugs
Raleigh-Durham International Airport | RDU | NC | Lithium Ion | Electricity | 1760 kWh | Airport | Airport/FAA ZEV | Shuttle Operation | 2019 | 4 each 440 kWh battery electric buses. RDU plans to purchase 4 additional in 2020 with delivery in 2021.
Salt Lake City International | SLC | UT | Buses | Biofuel
Seattle Tacoma International Airport | SEA | WA | Buses | Biofuel

## 2020
Construction
Ames | Spring 2020
Quad City
Gaberski | Constructed but not interconnected | 4 MW
Brookhaven | Started construction April 2019 | 3.6 MW

## Solar PV MW YR
Austin-Bergstrom International Airport | AUS | M | SOW | Austin | TX | Fixed tilt, Ground-mounted | 1998 | 84 | 2006 | 1733
| AUS | M | SOW | Austin | TX | Canopy-mounted | 2000 | 27 | 2007 | 1256
| SFO | L | WPC | San Francisco | CA | Roof-mounted | 2001 | 20 | 2008 | 5039
| OAK | M | WPC | Oakland | CA | Roof-mounted | 2005 | 904 | 2009 | 2865
Teterboro Airport | TET | GA | EST | Teterboro | NJ | Roof-mounted | 2006 | 698 | 2010 | 16144
[8 empty] | 1733 | 2011 | 9287
[9 empty] | 2012 | 18760
Oakland International Airport | OAK | M | WPC | Oakland | CA | Fixed tilt, Ground-mounted | 2007 | 756 | 2013 | 19295
San Francisco International Airport | SFO | L | WPC | San Francisco | CA | Roof-mounted | 2007 | 500 | 2014 | 20124
[8 empty] | 1256 | 2015 | 14535
[9 empty] | 2016 | 8394
Hollywood Burbank Airport | BUR | M | WPC | Burbank | CA | Roof-mounted | 2008 | 225 | 2017 | 22177
Freno-Yosemite International Airport | FYI | S | WPC | Fresno | CA | Single axis, Ground-mounted | 2008 | 2400 | 2018 | 39256
Long Beach Airport | LGB | S | WPC | Long Beach | CA | Canopy-mounted, Dual axis, Trees | 2008 | 6 | 2019 | 15768
Denver International Airport | DEN | L | NWM | Denver | CO | Single axis, Ground-mounted | 2008 | 2400
Alamogordo-White Sands Regional Airport | ALM | GA | SOW | Alamogordo | NM | Canopy-mounted | 2008 | 8
5039
Meadows Field | BFL | N | WPC | Bakerfield | CA | Single axis, Ground-mounted | 2009 | 880
Santa Barbara Airport | SBA | N | WPC | Santa Barbara | CA | Canopy and Roof-mounted | 2009 | 159
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 2009 | 1600
Topeka Regional Airport | FOE | N | CEN | Topeka | KS | Roof-mounted | 2009 | 10
Albuquerque International Airport | ALB | M | SOW | Albuquerque | NM | Roof-mounted | 2009 | 146
George Bush Intercontinental Airport | IAH | L | SOW | Houston | TX | Fixed tilt, Ground-mounted | 2009 | 60
| MSN | S | GRL | Madison | WI | Canopy-mounted | 2009 | 10
2865
Redding Municipal Airport | RDD | N | WPC | Redding | CA | Fixed tilt, Ground-mounted | 2010 | 693
San Jose Mineta International Airport | SJC | M | WPC | San Jose | CA | Roof-mounted | 2010 | 1100
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 2010 | 200
Charlotte International Airport | CLT | L | EST | Charlotte | NC | Roof-mounted | 2010 | 306
Shelby Cleveland County Airport | EHO | GA | EST | Shelby | NC | Fixed tilt, Ground-mounted | 2010 | 1000
| ALB | M | SOW | Albuquerque | NM | Roof-mounted | 2010 | 438
Long Island MacArthur Airport | ISP | S | EST | Islip | NY | Roof-mounted | 2010 | 13
Wyandot County Airport | 56D | GA | GRL | Wyandot | OH | Fixed tilt, Ground-mounted | 2010 | 12000
Redmond Municipal Airport | RDM | N | NWM | Redmond | OR | Roof-mounted | 2010 | 44
San Antonio International Airport | SAT | M | SOW | San Antonio | TX | Fixed tilt, Ground-mounted | 2010 | 300
Appleton International Airport | ATW | N | GRL | Appleton | WI | Roof-mounted | 2010 | 50
16144
Yuma International Airport | YUM | N | WPC | Yuma | AZ | Canopy-mounted | 2011 | 500
San Bernardino International Airport | SBD | GA | WPC | San Bernardino | CA | Canopy-mounted | 2011 | 632
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 2011 | 4400
Rifle-Garfield County Airport | RIL | GA | NWM | Rifle | CO | Fixed tilt, Ground-mounted | 2011 | 858
Cobb County International Airport | RYY | GA | SOU | Kennesaw | GA | Roof-mounted | 2011 | 140
Northampton Airport | 7B2 | GA | EST | Northampton | MA | Roof-mounted | 2011 | 10
Hanscom Field | BED | GA | EST | Bedford | MA | Roof-mounted | 2011 | 45
Boston-Logan International Airport | BOS | L | EST | Boston | MA | Roof-mounted | 2011 | 367
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 2011 | 81
Oakland County International Airport | PTK | GA | GRL | Waterford | MI | Roof-mounted | 2011 | 25
| ALB | M | SOW | Albuquerque | NM | Roof-mounted | 2011 | 365
Belen Regional Airport | BRG | GA | SOW | Belen | NM | Roof-mounted | 2011 | 12
Portland International Airport | PDX | L | NWM | Portland | OR | Fixed tilt, Ground-mounted | 2011 | 40
Chattanooga Metropolitan Airport | CHA | S | CEN | Chatanooga | TN | Fixed tilt, Ground-mounted | 2011 | 1000
Dallas-Fort Worth International Airport | DFW | L | SOW | DFW | TX | Fixed tilt, Ground-mounted | 2011 | 187
Cyril King Airport | STT | N | SOU | Charlotte Amamlie | VI | Fixed tilt, Ground-mounted | 2011 | 600
| BVT | S | EST | Burlington | VT | Roof-mounted | 2011 | 25
9287
Phoenix Sky Harbor | PHX | L | WPC | Phoenix | AZ | Roof-mounted | 2012 | 5400
San Rafael Airport | CA35 | GA | WPC | San Rafael | CA | Roof-mounted | 2012 | 972
Page Field | FMY | GA | SOU | Fort Myers | FL | Roof-mounted | 2012 | 200
Gainesville Regional Airport | GNV | N | SOU | Gainesville | FL | Roof-mounted | 2012 | 292
Lakeland Linder International Airport | LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 2012 | 2700
Tallahassee Airport | TLH | N | SOU | Tallahassee | FL | Roof-mounted | 2012 | 25
Hilo International Airport | ITO | S | WPC | Hilo | HI | Roof-mounted | 2012 | 111
Lihue Airport | LIH | S | WPC | Lihue | HI | Roof-mounted | 2012 | 338
Lanai Airport | LNY | N | WPC | Lanai City | HI | Roof-mounted | 2012 | 117
Waimea-Kohala Airpport | MUE | N | WPC | Kamuela | HI | Roof-mounted | 2012 | 21
Kahului Airport | OGG | M | WPC | Kahului | HI | Roof-mounted | 2012 | 327
| OGG | M | WPC | Kahului | HI | Roof-mounted | 2012 | 42
McCall Municipal Airport | MYL | GA | NWM | McCall | ID | Roof-mounted | 2012 | 9
Chicago-Rockford International Airport | RFD | L | GRL | Rockford | IL | Fixed tilt, Ground-mounted | 2012 | 3000
Taylorville Municipal Airport | TAZ | GA | GRL | Taylorville | IL | Fixed tilt, Ground-mounted | 2012 | 19
BWI Thurgood Marshall International Airport | BWI | L | EST | Baltimore | MD | Canopy-mounted | 2012 | 505
Mexico Memorial Airport | MYJ | GA | CEN | Mexico | MO | Roof-mounted | 2012 | 36
| CLT | L | EST | Charlotte | NC | Roof-mounted | 2012 | 120
| EWR | L | EST | Newark | NJ | Roof-mounted | 2012 | 3300
Reno-Tahoe International Airport | RNO | S | WPC | Reno | NV | Fixed tilt, Ground-mounted | 2012 | 135
Smyrna Airport | MQY | GA | CEN | Smyrna | TN | Fixed tilt, Ground-mounted | 2012 | 1000
Walla Walla Regional Airport | ALW | N | NWM | Walla Walla | WA | Roof-mounted | 2012 | 75
Jefferson County International Airport | TWD | GA | NWM | Port Townsend | WA | Fixed tilt, Ground-mounted | 2012 | 16
18760
| OAK | M | WPC | Oakland | CA | Roof- and Canopy-mounted | 2013 | 230
Chicago-Midway International Airport | MDW | L | GRL | Chicago | IL | Roof-mounted | 2013 | 25
Indianapolis International Airport | IND | M | GRL | Indianapolis | IN | Fixed tilt, Ground-mounted | 2013 | 12500
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 2013 | 150
Warren Field | OCW | GA | EST | Washington | NC | Fixed tilt, Ground-mounted | 2013 | 5000
Greater Rochester International Airport | ROC | S | EST | Rochester | NY | Roof-mounted | 2013 | 180
Rogue Valley International Medford Airport | MFR | S | NWM | Medford | OR | Canopy-mounted | 2013 | 25
| CHA | S | CEN | Chatanooga | TN | Fixed tilt, Ground-mounted | 2013 | 1100
Southern Vermont Regional Airport | RUT | N | EST | Rutland | VT | Fixed tilt, Ground-mounted | 2013 | 60
| ATW | N | GRL | Appleton | WI | Roof-mounted | 2013 | 25
19295
Tuscon International Airport | TUS | S | WPC | Tuscon | AZ | Canopy-mounted | 2014 | 1000
| SAN | L | WPC | San Diego | CA | Roof-mounted | 2014 | 554
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 2014 | 2000
| DEN | L | NWM | Denver | CO | Roof-mounted | 2014 | 262
| IND | M | GRL | Indianapolis | IN | Single axis, Ground-mounted | 2014 | 9500
| BOS | L | EST | Boston | MA | Roof-mounted | 2014 | 50
Barnstable Municipal Airport | HYA | N | EST | Barnstable | MA | Fixed tilt, Ground-mounted | 2014 | 6000
Newark-Liberty International Airport | EWR | L | EST | Newark | NJ | Roof-mounted | 2014 | 633
Lopez Island Airport | S31 | GA | NWM | Lopez Island | WA | Roof-mounted | 2014 | 25
Dane County Regional Airport | MSN | S | GRL | Madison | WI | Roof-mounted | 2014 | 100
20124
Cottonwood Airport | P52 | GA | WPC | Cottonwood | AZ | Roof-mounted | 2015 | 10
Palm Springs International Airport | PSP | S | WPC | Palm Springs | CA | Canopy-mounted | 2015 | 204
Bradley International Airport | BDL | M | EST | Hartford | CT | Roof-mounted | 2015 | 687
| LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 2015 | 4200
Tampa International Airport | TPA | L | SOU | Tampa | FL | Roof-mounted | 2015 | 2000
| IND | M | GRL | Indianapolis | IN | Single axis, Ground-mounted | 2015 | 3200
Minneapolis-St. Paul International Airport | MSP | L | GRL | Minneapolis | MN | Canopy-mounted | 2015 | 3000
Manchester-Boston Regional Airport | MHT | S | EST | Manchester | NH | Canopy-mounted | 2015 | 530
John Glenn Columbus International Airport | CMH | M | GRL | Columbus | OH | Roof-mounted | 2015 | 90
| MFR | S | NWM | Medford | OR | Canopy-mounted | 2015 | 36
Burlington International Airport | BVT | S | EST | Burlington | VT | Canopy-mounted | 2015 | 578
14535
| TUS | S | WPC | Tuscon | AZ | Canopy-mounted | 2016 | 502
San Diego International Airport | SAN | L | WPC | San Diego | CA | Fixed tilt, Roof- and Canopy-mounted | 2016 | 3300
Valdosta Regional Airport | VLD | N | SOU | Valdosta | GA | Fixed tilt, Ground-mounted | 2016 | 200
Stewart Airport | SWF | N | EST | New Windsor | NY | Roof-mounted | 2016 | 82
Marshall Municipal Airport | MHL | GA | CEN | Marshall | MO | Fixed tilt, Ground-mounted | 2016 | 3200
Cleveland-Hopkins International Airport | CLE | M | GRL | Cleveland | OH | Canopy-mounted | 2016 | 50
Pierre Municipal Airport | PIR | N | GRL | Pierre | SD | Fixed tilt, Ground-mounted | 2016 | 1000
Nashville International Airport | BNA | M | CEN | Nashville | TN | Roof- and Canopy-mounted | 2016 | 60
8394
| TUS | S | WPC | Tuscon | AZ | Canopy-mounted | 2017 | 1500
Santa Clara San Martin Airport | E16 | GA | WPC | San Martin | CA | Single axis, Ground-mounted | 2017 | 1000
Monterey Regional Airport | MRY | N | WPC | Monterey | CA | Single axis, Ground-mounted | 2017 | 826
Santa Clara Reid-Hillview | RHV | GA | WPC | San Jose | CA | Single axis, Ground-mounted | 2017 | 1000
| SAN | L | WPC | San Diego | CA | Canopy-mounted | 2017 | 2200
Sacramento International Airport | SMF | M | WPC | Sacramento | CA | Single axis, Ground-mounted | 2017 | 7900
| DEN | L | NWM | Denver | CO | Canopy-mounted | 2017 | 1300
| LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 2017 | 3150
Jackson-Hartsfield International Airport | ATL | L | SOU | Atlanta | GA | Roof-mounted | 2017 | 82
Plymouth Municipal Airport | PLY | GA | GRL | Plymouth | IN | Fixed tilt, Ground-mounted | 2017 | 238
Salina Regional Airport | SLN | N | CEN | Salina | KS | Fixed tilt, Ground-mounted | 2017 | 20
| MSP | L | GRL | Minneapolis | MN | Canopy-mounted | 2017 | 1300
Corvallis Municipal Airport | CVO | GA | NWM | Corvallis | OR | Fixed tilt, Ground-mounted | 2017 | 100
| PDX | L | NWM | Portland | OR | Roof-mounted | 2017 | 31
Columbia Metropolitan Airport | CME | S | SOU | Columbia | SC | Fixed tilt, Ground-mounted | 2017 | 1300
| ATW | N | GRL | Appleton | WI | Canopy-mounted | 2017 | 230
22177
| SFO | L | WPC | San Francisco | CA | Roof-mounted | 2018 | 72
| TLH | N | SOU | Tallahassee | FL | Fixed tilt, Ground-mounted | 2018 | 28000
Daniel K. Inouye International Airport | HNL | L | WPC | Honolulu | HI | Canopy-mounted | 2018 | 2000
Brunswick Executive Airport | BXM | GA | EST | Brunswick | ME | Fixed tilt, Ground-mounted | 2018 | 1500
Portland International Jetport | PWM | S | EST | Portland | ME | Roof-mounted | 2018 | 335
Delta County Airport | ESC | N | GRL | Escanaba | MI | Fixed tilt, Ground-mounted | 2018 | 1100
Lebanon Municipal Airport | LEB | N | EST | Lebanon | NH | Roof-mounted | 2018 | 219
Eastern Oregon Regional Airport | PDT | N | NWM | Pendleton | OR | Fixed tilt, Ground-mounted | 2018 | 6000
Southwest Wyoming Regional Airport | RKS | N | NWM | Rock Springs | WY | Roof-mounted | 2018 | 30
[8 empty] | 39256 | 0.86611
Van Nuys Airport | VNY | GA | WPC | Van Nuys | CA | Roof- and Canopy-mounted | 2019 | 1500
Colorado Springs Airport | COS | S | NWM | Colorado Springs | CO | Canopy-mounted | 2019 | 100
Decatur County Industrial Airpark | BGE | GA | SOU | Bainbridge | GA | Fixed tilt, Ground-mounted | 2019 | 1250
| HNL | L | WPC | Honolulu | HI | Canopy-mounted | 2019 | 1400
| OGG | M | WPC | Kahului | HI | Roof-mounted | 2019
Evansville Regional Airport | EVV | N | GRL | Evansville | IN | Canopy-mounted | 2019 | 1300
North Vernon Municipal Airport | OVO | GA | GRL | North Vernon | IN | Fixed tilt, Ground-mounted | 2019 | 68
St. Louis-Lambert International Airport | STL | M | CEN | St. Louis | MO | Fixed tilt, Ground-mounted | 2019 | 1000
Francis Gabreski Airport | FOK | GA | EST | Westhampton | NY | Fixed tilt, Ground-mounted | 2019 | 2400
Brookhaven Calabro Airport | HWV | GA | EST | Brookhaven | NY | Fixed tilt, Ground-mounted | 2019 | 3600
Chattanooga Airport | CHA | S | CEN | Chattanooga | TN | Fixed tilt, Ground-mounted | 2019 | 500
Clarksville Regional Airport | CKV | GA | CEN | Clarksville | TN | Roof-mounted | 2019 | 15
Austin-Bergstrom International Airport | AUS | M | SOW | Austin | TX | Canopy-mounted | 2019 | 1750
Warrenton-Fauquier Airport | HWY | GA | EST | Warrenton | VA | Roof-mounted | 2019 | 25
Appleton Airport | ATW | N | GRL | Appleton | WI | Canopy-mounted | 2019 | 230
Yeager Airport | CRW | N | EST | Charleston | WV | Canopy-mounted | 2019 | 630
15768
Lake Tahoe Airport | TVL | GA | WPC | South Lake Tahoe | CA | Roof-mounted | 2020 | 300
Tallahassee Airport | TLH | N | SOU | Tallahassee | FL | Fixed tilt, Ground-mounted | 2020 | 55000
The Eastern Iowa Airport | CID | S | CEN | Cedar Rapids | IA | Roof-mounted | 2020 | 240
Mettel Field - Connersville | CEV | GA | GRL | Connersville | IN | Fixed tilt, Ground-mounted | 2020 | 46
Sanford Regional Airport | SFM | GA | EST | Sanford | ME | Fixed tilt, Ground-mounted | 2020 | 50000
Middleton Municipal Airport | C29 | GA | GRL | Middleton | WI | Fixed tilt, Ground-mounted | 2020 | 5000
Ellison Onizuka Kona International Airport | KOA | S | WPC | Kalaoa | HI | Canopy-mounted
El Paso International Airport | ELP | S | SOW | El Paso | TX | Canopy-mounted

## Solar PV Design Yr
Santa Barbara Airport | SBA | N | WPC | Santa Barbara | CA | Canopy and Roof-mounted | 2009
| AUS | M | SOW | Austin | TX | Canopy-mounted | 2000 | 1998-2006 | 1
Alamogordo-White Sands Regional Airport | ALM | GA | SOW | Alamogordo | NM | Canopy-mounted | 2008 | 2007 | 0
| MSN | S | GRL | Madison | WI | Canopy-mounted | 2009 | 2008 | 2
Yuma International Airport | YUM | N | WPC | Yuma | AZ | Canopy-mounted | 2011 | 2009 | 2
Rogue Valley International Medford Airport | MFR | S | NWM | Medford | OR | Canopy-mounted | 2013 | 2010 | 1
Tuscon International Airport | TUS | S | WPC | Tuscon | AZ | Canopy-mounted | 2014 | 2011 | 3
Palm Springs International Airport | PSP | S | WPC | Palm Springs | CA | Canopy-mounted | 2015 | 2012 | 1
Minneapolis-St. Paul International Airport | MSP | L | GRL | Minneapolis | MN | Canopy-mounted | 2015 | 2013 | 3
Manchester-Boston Regional Airport | MHT | S | EST | Manchester | NH | Canopy-mounted | 2015 | 2014 | 1
| MFR | S | NWM | Medford | OR | Canopy-mounted | 2015 | 2015 | 5
Burlington International Airport | BVT | S | EST | Burlington | VT | Canopy-mounted | 2015 | 2016 | 4
| TUS | S | WPC | Tuscon | AZ | Canopy-mounted | 2016 | 2017 | 5
Cleveland-Hopkins International Airport | CLE | M | GRL | Cleveland | OH | Canopy-mounted | 2016 | 2018 | 1
| TUS | S | WPC | Tuscon | AZ | Canopy-mounted | 2017 | 2019 | 7
| SAN | L | WPC | San Diego | CA | Canopy-mounted | 2017
| MSP | L | GRL | Minneapolis | MN | Canopy-mounted | 2017
| ATW | N | GRL | Appleton | WI | Canopy-mounted | 2017
| AUS | M | SOW | Austin | TX | Canopy-mounted | 2019
| ATW | N | GRL | Appleton | WI | Canopy-mounted | 2019
Yeager Airport | CRW | N | EST | Charleston | WV | Canopy-mounted | 2019
Ellison Onizuka Kona International Airport | KOA | S | WPC | Kalaoa | HI | Canopy-mounted
El Paso International Airport | ELP | S | SOW | El Paso | TX | Canopy-mounted
San Bernardino International Airport | SBD | GA | WPC | San Bernardino | CA | Canopy-mounted | 2011
BWI Thurgood Marshall International Airport | BWI | L | EST | Baltimore | MD | Canopy-mounted | 2012
| DEN | L | NWM | Denver | CO | Canopy-mounted | 2017
Daniel K. Inouye International Airport | HNL | L | WPC | Honolulu | HI | Canopy-mounted | 2018
Colorado Springs Airport | COS | S | NWM | Colorado Springs | CO | Canopy-mounted | 2019
| HNL | L | WPC | Honolulu | HI | Canopy-mounted | 2019
Evansville Regional Airport | EVV | N | GRL | Evansville | IN | Canopy-mounted | 2019
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 2010
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 2011
| BOS | L | EST | Boston | MA | Canopy-mounted Trees | 2013
Long Beach Airport | LGB | S | WPC | Long Beach | CA | Canopy-mounted, Dual axis, Trees | 2008
Austin-Bergstrom International Airport | AUS | M | SOW | Austin | TX | Fixed tilt, Ground-mounted | 1998
Oakland International Airport | OAK | M | WPC | Oakland | CA | Fixed tilt, Ground-mounted | 2007
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 2009 | 1998-2006 | 1
George Bush Intercontinental Airport | IAH | L | SOW | Houston | TX | Fixed tilt, Ground-mounted | 2009 | 2007 | 1
Redding Municipal Airport | RDD | N | WPC | Redding | CA | Fixed tilt, Ground-mounted | 2010 | 2008 | 2
Shelby Cleveland County Airport | EHO | GA | EST | Shelby | NC | Fixed tilt, Ground-mounted | 2010 | 2009 | 3
Wyandot County Airport | 56D | GA | GRL | Wyandot | OH | Fixed tilt, Ground-mounted | 2010 | 2010 | 4
San Antonio International Airport | SAT | M | SOW | San Antonio | TX | Fixed tilt, Ground-mounted | 2010 | 2011 | 6
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 2011 | 2012 | 6
Rifle-Garfield County Airport | RIL | GA | NWM | Rifle | CO | Fixed tilt, Ground-mounted | 2011 | 2013 | 4
Portland International Airport | PDX | L | NWM | Portland | OR | Fixed tilt, Ground-mounted | 2011 | 2014 | 3
Chattanooga Metropolitan Airport | CHA | S | CEN | Chatanooga | TN | Fixed tilt, Ground-mounted | 2011 | 2015 | 2
Dallas-Fort Worth International Airport | DFW | L | SOW | DFW | TX | Fixed tilt, Ground-mounted | 2011 | 2016 | 2
Cyril King Airport | STT | N | SOU | Charlotte Amamlie | VI | Fixed tilt, Ground-mounted | 2011 | 2017 | 9
Chicago-Rockford International Airport | RFD | L | GRL | Rockford | IL | Fixed tilt, Ground-mounted | 2012 | 2018 | 4
Taylorville Municipal Airport | TAZ | GA | GRL | Taylorville | IL | Fixed tilt, Ground-mounted | 2012 | 2019 | 4
Reno-Tahoe International Airport | RNO | S | WPC | Reno | NV | Fixed tilt, Ground-mounted | 2012
Smyrna Airport | MQY | GA | CEN | Smyrna | TN | Fixed tilt, Ground-mounted | 2012
Jefferson County International Airport | TWD | GA | NWM | Port Townsend | WA | Fixed tilt, Ground-mounted | 2012
Indianapolis International Airport | IND | M | GRL | Indianapolis | IN | Fixed tilt, Ground-mounted | 2013
Warren Field | OCW | GA | EST | Washington | NC | Fixed tilt, Ground-mounted | 2013
| CHA | S | CEN | Chatanooga | TN | Fixed tilt, Ground-mounted | 2013
Southern Vermont Regional Airport | RUT | N | EST | Rutland | VT | Fixed tilt, Ground-mounted | 2013
| DEN | L | NWM | Denver | CO | Fixed tilt, Ground-mounted | 2014
Barnstable Municipal Airport | HYA | N | EST | Barnstable | MA | Fixed tilt, Ground-mounted | 2014
Valdosta Regional Airport | VLD | N | SOU | Valdosta | GA | Fixed tilt, Ground-mounted | 2016
Pierre Municipal Airport | PIR | N | GRL | Pierre | SD | Fixed tilt, Ground-mounted | 2016
Plymouth Municipal Airport | PLY | GA | GRL | Plymouth | IN | Fixed tilt, Ground-mounted | 2017
Salina Regional Airport | SLN | N | CEN | Salina | KS | Fixed tilt, Ground-mounted | 2017
Corvallis Municipal Airport | CVO | GA | NWM | Corvallis | OR | Fixed tilt, Ground-mounted | 2017
Columbia Metropolitan Airport | CME | S | SOU | Columbia | SC | Fixed tilt, Ground-mounted | 2017
| TLH | N | SOU | Tallahassee | FL | Fixed tilt, Ground-mounted | 2018
Brunswick Executive Airport | BXM | GA | EST | Brunswick | ME | Fixed tilt, Ground-mounted | 2018
Delta County Airport | ESC | N | GRL | Escanaba | MI | Fixed tilt, Ground-mounted | 2018
Eastern Oregon Regional Airport | PDT | N | NWM | Pendleton | OR | Fixed tilt, Ground-mounted | 2018
Decatur County Industrial Airpark | BGE | GA | SOU | Bainbridge | GA | Fixed tilt, Ground-mounted | 2019
North Vernon Municipal Airport | OVO | GA | GRL | North Vernon | IN | Fixed tilt, Ground-mounted | 2019
St. Louis-Lambert International Airport | STL | M | CEN | St. Louis | MO | Fixed tilt, Ground-mounted | 2019
| CHA | S | CEN | Chatanooga | TN | Fixed tilt, Ground-mounted | 2019
| TLH | N | SOU | Tallahassee | FL | Fixed tilt, Ground-mounted | 2020
Sanford Regional Airport | SFM | GA | EST | Sanford | ME | Fixed tilt, Ground-mounted | 2020
Middleton Municipal Airport | C29 | GA | GRL | Middleton | WI | Fixed tilt, Ground-mounted | 2020
San Diego International Airport | SAN | L | WPC | San Diego | CA | Fixed tilt, Roof- and Canopy-mounted | 2016
Freno-Yosemite International Airport | FYI | S | WPC | Fresno | CA | Single axis, Ground-mounted | 2008
Denver International Airport | DEN | L | NWM | Denver | CO | Single axis, Ground-mounted | 2008
Meadows Field | BFL | N | WPC | Bakerfield | CA | Single axis, Ground-mounted | 2009
Lakeland Linder International Airport | LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 2012
| IND | M | GRL | Indianapolis | IN | Single axis, Ground-mounted | 2014
| LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 2015
| IND | M | GRL | Indianapolis | IN | Single axis, Ground-mounted | 2015
Santa Clara San Martin Airport | E16 | GA | WPC | San Martin | CA | Single axis, Ground-mounted | 2017
Monterey Regional Airport | MRY | N | WPC | Monterey | CA | Single axis, Ground-mounted | 2017
Santa Clara Reid-Hillview | RHV | GA | WPC | San Jose | CA | Single axis, Ground-mounted | 2017
Sacramento International Airport | SMF | M | WPC | Sacramento | CA | Single axis, Ground-mounted | 2017
| LAL | GA | SOU | Lakeland | FL | Single axis, Ground-mounted | 2017
| OAK | M | WPC | Oakland | CA | Roof- and Canopy-mounted | 2013
Nashville International Airport | BNA | M | CEN | Nashville | TN | Roof- and Canopy-mounted | 2016
Van Nuys Airport | VNY | GA | WPC | Van Nuys | CA | Roof- and Canopy-mounted | 2019 | 1998-2006 | 3
| SFO | L | WPC | San Francisco | CA | Roof-mounted | 2001 | 2007 | 1
| OAK | M | WPC | Oakland | CA | Roof-mounted | 2005 | 2008 | 1
Teterboro Airport | TET | GA | EST | Teterboro | NJ | Roof-mounted | 2006 | 2009 | 2
San Francisco International Airport | SFO | L | WPC | San Francisco | CA | Roof-mounted | 2007 | 2010 | 6
Hollywood Burbank Airport | BUR | M | WPC | Burbank | CA | Roof-mounted | 2008 | 2011 | 8
Topeka Regional Airport | FOE | N | CEN | Topeka | KS | Roof-mounted | 2009 | 2012 | 16
Albuquerque International Airport | ALB | M | SOW | Albuquerque | NM | Roof-mounted | 2009 | 2013 | 3
San Jose Mineta International Airport | SJC | M | WPC | San Jose | CA | Roof-mounted | 2010 | 2014 | 6
Charlotte International Airport | CLT | L | EST | Charlotte | NC | Roof-mounted | 2010 | 2015 | 4
| ALB | M | SOW | Albuquerque | NM | Roof-mounted | 2010 | 2016 | 1
Long Island MacArthur Airport | ISP | S | EST | Islip | NY | Roof-mounted | 2010 | 2017 | 2
Redmond Municipal Airport | RDM | N | NWM | Redmond | OR | Roof-mounted | 2010 | 2018 | 4
Appleton International Airport | ATW | N | GRL | Appleton | WI | Roof-mounted | 2010 | 2019 | 2
Cobb County International Airport | RYY | GA | SOU | Kennesaw | GA | Roof-mounted | 2011
Northampton Airport | 7B2 | GA | EST | Northampton | MA | Roof-mounted | 2011
Hanscom Field | BED | GA | EST | Bedford | MA | Roof-mounted | 2011
Boston-Logan International Airport | BOS | L | EST | Boston | MA | Roof-mounted | 2011
Oakland County International Airport | PTK | GA | GRL | Waterford | MI | Roof-mounted | 2011
| ALB | M | SOW | Albuquerque | NM | Roof-mounted | 2011
Belen Regional Airport | BRG | GA | SOW | Belen | NM | Roof-mounted | 2011
| BVT | S | EST | Burlington | VT | Roof-mounted | 2011
Phoenix Sky Harbor | PHX | L | WPC | Phoenix | AZ | Roof-mounted | 2012
San Rafael Airport | CA35 | GA | WPC | San Rafael | CA | Roof-mounted | 2012
Page Field | FMY | GA | SOU | Fort Myers | FL | Roof-mounted | 2012
Gainesville Regional Airport | GNV | N | SOU | Gainesville | FL | Roof-mounted | 2012
Tallahassee Airport | TLH | N | SOU | Tallahassee | FL | Roof-mounted | 2012
Lihue Airport | LIH | S | WPC | Lihue | HI | Roof-mounted | 2012
Lanai Airport | LNY | N | WPC | Lanai City | HI | Roof-mounted | 2012
Waimea-Kohala Airpport | MUE | N | WPC | Kamuela | HI | Roof-mounted | 2012
Kahului Airport | OGG | M | WPC | Kahului | HI | Roof-mounted | 2012
| OGG | M | WPC | Kahului | HI | Roof-mounted | 2012
McCall Municipal Airport | MYL | GA | NWM | McCall | ID | Roof-mounted | 2012
Mexico Memorial Airport | MYJ | GA | CEN | Mexico | MO | Roof-mounted | 2012
| CLT | L | EST | Charlotte | NC | Roof-mounted | 2012
| EWR | L | EST | Newark | NJ | Roof-mounted | 2012
Walla Walla Regional Airport | ALW | N | NWM | Walla Walla | WA | Roof-mounted | 2012
Chicago-Midway International Airport | MDW | L | GRL | Chicago | IL | Roof-mounted | 2013
Greater Rochester International Airport | ROC | S | EST | Rochester | NY | Roof-mounted | 2013
| ATW | N | GRL | Appleton | WI | Roof-mounted | 2013
| SAN | L | WPC | San Diego | CA | Roof-mounted | 2014
| DEN | L | NWM | Denver | CO | Roof-mounted | 2014
| BOS | L | EST | Boston | MA | Roof-mounted | 2014
Newark-Liberty International Airport | EWR | L | EST | Newark | NJ | Roof-mounted | 2014
Lopez Island Airport | S31 | GA | NWM | Lopez Island | WA | Roof-mounted | 2014
Dane County Regional Airport | MSN | S | GRL | Madison | WI | Roof-mounted | 2014
Cottonwood Airport | P52 | GA | WPC | Cottonwood | AZ | Roof-mounted | 2015
Bradley International Airport | BDL | M | EST | Hartford | CT | Roof-mounted | 2015
John Glenn Columbus International Airport | CMH | M | GRL | Columbus | OH | Roof-mounted | 2015
Stewart Airport | SWF | N | EST | New Windsor | NY | Roof-mounted | 2016
Jackson-Hartsfield International Airport | ATL | L | SOU | Atlanta | GA | Roof-mounted | 2017
| PDX | L | NWM | Portland | OR | Roof-mounted | 2017
| SFO | L | WPC | San Francisco | CA | Roof-mounted | 2018
Lebanon Municipal Airport | LEB | N | EST | Lebanon | NH | Roof-mounted | 2018
Southwest Wyoming Regional Airport | RKS | N | NWM | Rock Springs | WY | Roof-mounted | 2018
| OGG | M | WPC | Kahului | HI | Roof-mounted | 2019
Warrenton-Fauquier Airport | HWY | GA | EST | Warrenton | VA | Roof-mounted | 2019
Lake Tahoe Airport | TVL | GA | WPC | South Lake Tahoe | CA | Roof-mounted | 2020
The Eastern Iowa Airport | CID | S | CEN | Cedar Rapids | IA | Roof-mounted | 2020
Clarksville Regional Airport | CKV | GA | CEN | Clarksville | TN | Roof-mounted
Hilo International Airport | ITO | S | WPC | Hilo | HI | Roof-mounted | 2012
Tampa International Airport | TPA | L | SOU | Tampa | FL | Roof-mounted | 2015
Portland International Jetport | PWM | S | EST | Portland | ME | Roof-mounted | 2018
[9 empty] | Canopy | Ground | Roof
[8 empty] | 1998-2006 | 1 | 1 | 3
[8 empty] | 2007 | 0 | 1 | 1
[8 empty] | 2008 | 2 | 2 | 1
[8 empty] | 2009 | 2 | 3 | 2
[8 empty] | 2010 | 1 | 4 | 6
[8 empty] | 2011 | 3 | 6 | 8
[8 empty] | 2012 | 1 | 6 | 16
[8 empty] | 2013 | 3 | 4 | 3
[8 empty] | 2014 | 1 | 3 | 6
[8 empty] | 2015 | 5 | 2 | 4
[8 empty] | 2016 | 4 | 3 | 1
[8 empty] | 2017 | 5 | 9 | 2
[8 empty] | 2018 | 1 | 4 | 4
[8 empty] | 2019 | 7 | 6 | 2